## 08W - Preferred
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | Blend OH/UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 11670 |  | 2.2102 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 11670 |  | 2.2102 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot | 9655 |  | 1.8286 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  | 5.3 |  |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 1 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse | 1
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 1
29 | OH Recloser** |  | Recloser | 1
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 1
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL OH
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 25210 |  | 4.7746 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 25210 |  | 4.7746 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 2 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse | 1
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 2
29 | OH Recloser** |  | Recloser | 1
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 2
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 1345 |  | 0.25473 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 1345 |  | 0.25473 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot | 27140 |  | 5.1402 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  | 5.3 |  |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 2 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse | 1
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 4
29 | OH Recloser** |  | Recloser | 1
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter | 2
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 3
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL OH
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 10875 |  | 2.0597 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 10875 |  | 2.0597 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  | 63.3 |  | 2 locations |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator |  | 0 |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse |  | 0
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch |  | 0
29 | OH Recloser** |  | Recloser | 1
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## Drop down option
ALL OH
ALL UG
Blend OH/UG