## Summary
Pacific Gas and Electric Company | [8 empty] | Pacific Gas and Electric Company | [7 empty] | Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W | [8 empty] | Unit Cost Worksheet - MAT 08W | [7 empty] | Unit Cost Worksheet - MAT 08W
|  | Prefferred | [8 empty] | Alt 1 | [7 empty] | Alt 2
|  | PM # | Project Name (Short Text) | [6 empty] | PM # | Project Name (Short Text) | [6 empty] | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB | Unit Cost Calculator |  | Unit Conversion |  | Line No. |  | 35217268 | Bucks Creek 1101 CB | Unit Cost Calculator |  | Unit Conversion |  | Line No. |  | 35217268 | Bucks Creek 1101 CB | Unit Cost Calculator |  | Unit Conversion
1 | [7 empty] | 1 | [7 empty] | 1
2 | [7 empty] | 2 | [7 empty] | 2
3 | Description | Unit Cost | Per | Quantity | Total | Quantity | Per | 3 | Description | Unit Cost | Per | Quantity | Total | Quantity | Per | 3 | Description | Unit Cost | Per | Quantity | Total | Quantity | Per
4 | [7 empty] | 4 | [7 empty] | 4
5 | Level 1 Hardening | [6 empty] | 5 | Level 1 Hardening | [6 empty] | 5 | Level 1 Hardening
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot | 0 | 0 | 0 | Mile | 6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot | 0 | 0 | 0 | Mile | 6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot | 0 | 0 | 0 | Mile
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot | 0 | 0 | 0 | Mile | 7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot | 0 | 0 | 0 | Mile | 7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot | 0 | 0 | 0 | Mile
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 2540 |  | 0.48106 | Mile | 8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 24979 |  | 4.7309 | Mile | 8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 11499 |  | 2.1778 | Mile
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot | 0 | 0 | 0 | Mile | 9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot | 0 | 0 | 0 | Mile | 9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot | 0 | 0 | 0 | Mile
10 | Vegitation Work |  | Foot | 2540 |  | 0.48106 | Mile | 10 | Vegitation Work |  | Foot | 24979 |  | 4.7309 | Mile | 10 | Vegitation Work |  | Foot | 11499 |  | 2.1778 | Mile
11 | Level 2 Hardening | [6 empty] | 11 | Level 2 Hardening | [6 empty] | 11 | Level 2 Hardening
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot | 0 | 0 | 0 | Mile | 12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot | 0 | 0 | 0 | Mile | 12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot | 0 | 0 | 0 | Mile
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot | 0 | 0 | 0 | Mile | 13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot | 0 | 0 | 0 | Mile | 13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot | 0 | 0 | 0 | Mile
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 0 | 0 | 0 | Mile | 14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 0 | 0 | 0 | Mile | 14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 0 | 0 | 0 | Mile
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot | 0 | 0 | 0 | Mile | 15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot | 0 | 0 | 0 | Mile | 15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot | 0 | 0 | 0 | Mile
16 | Vegitation Work |  | Foot | 0 | 0 | 0 | Mile | 16 | Vegitation Work |  | Foot | 0 | 0 | 0 | Mile | 16 | Vegitation Work |  | Foot | 0 | 0 | 0 | Mile
17 | Level 3 Hardening | [6 empty] | 17 | Level 3 Hardening | [6 empty] | 17 | Level 3 Hardening
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot | 19069 |  | 3.6116 | Mile | 18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot | 0 | 0 | 0 | Mile | 18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot | 0 | 0 | 0 | Mile
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot | 0 | 0 | 0 | Mile | 19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot | 0 | 0 | 0 | Mile | 19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot | 0 | 0 | 0 | Mile
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot | 6958 |  | 1.3178 | Mile | 20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot | 0 | 0 | 0 | Mile | 20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot | 9690 |  | 1.8352 | Mile
21 | Vegitation Work |  | Foot | 0 | 0 |  |  | 21 | Vegitation Work |  | Foot | 0 | 0 |  |  | 21 | Vegitation Work |  | Foot | 0 | 0
22 | Miscellaneous: New / Upgrade (**) | [6 empty] | 22 | Miscellaneous: New / Upgrade (**) | [6 empty] | 22 | Miscellaneous: New / Upgrade (**)
23 | OH Fault Indicator |  | Fault Indicator | 4 |  |  |  | 23 | OH Fault Indicator |  | Fault Indicator | 2 |  |  |  | 23 | OH Fault Indicator |  | Fault Indicator | 1
24 | OH Single Phase Switch (Solid Blades) |  | Switch | 0 | 0 |  |  | 24 | OH Single Phase Switch (Solid Blades) |  | Switch | 0 | 0 |  |  | 24 | OH Single Phase Switch (Solid Blades) |  | Switch | 0 | 0
25 | OH Fuse |  | Fuse | 1 |  |  |  | 25 | OH Fuse |  | Fuse | 1 |  |  |  | 25 | OH Fuse |  | Fuse | 1
26 | OH Fuse Saver** |  | Fuse Saver | 0 | 0 |  |  | 26 | OH Fuse Saver** |  | Fuse Saver | 0 | 0 |  |  | 26 | OH Fuse Saver** |  | Fuse Saver | 0 | 0
27 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 6 |  |  |  | 27 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 2 |  |  |  | 27 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 1
28 | OH Recloser** |  | Recloser | 1 |  |  |  | 28 | OH Recloser** |  | Recloser | 1 |  |  |  | 28 | OH Recloser** |  | Recloser | 1
29 | OH Capacitor |  | Capacitor | 0 | 0 |  |  | 29 | OH Capacitor |  | Capacitor | 0 | 0 |  |  | 29 | OH Capacitor |  | Capacitor | 0 | 0
30 | SCADA on OH Capacitor |  | Capacitor | 0 | 0 |  |  | 30 | SCADA on OH Capacitor |  | Capacitor | 0 | 0 |  |  | 30 | SCADA on OH Capacitor |  | Capacitor | 0 | 0
31 | OH Regulator |  | Regulator Bank | 0 | 0 |  |  | 31 | OH Regulator |  | Regulator Bank | 0 | 0 |  |  | 31 | OH Regulator |  | Regulator Bank | 0 | 0
32 | Riser Pole or Pole |  | Riser | 0 | 0 |  |  | 32 | Riser Pole or Pole |  | Riser | 0 | 0 |  |  | 32 | Riser Pole or Pole |  | Riser | 0 | 0
33 | UG Fuse |  | Fuse | 0 | 0 |  |  | 33 | UG Fuse |  | Fuse | 0 | 0 |  |  | 33 | UG Fuse |  | Fuse | 0 | 0
34 | UG Interrupter |  | Interrupter | 0 | 0 |  |  | 34 | UG Interrupter |  | Interrupter | 0 | 0 |  |  | 34 | UG Interrupter |  | Interrupter | 0 | 0
35 | UG transformer |  | Transformer | 0 | 0 |  |  | 35 | UG transformer |  | Transformer | 0 | 0 |  |  | 35 | UG transformer |  | Transformer | 0 | 0
36 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch | 0 | 0 |  |  | 36 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch | 0 | 0 |  |  | 36 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch | 0 | 0
37 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch | 0 | 0 |  |  | 37 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch | 0 | 0 |  |  | 37 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch | 0 | 0
38 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter | 0 | 0 |  |  | 38 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter | 0 | 0 |  |  | 38 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter | 0 | 0
39 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter | 0 | 0 |  |  | 39 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter | 0 | 0 |  |  | 39 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter | 0 | 0
40 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch | 0 | 0 |  |  | 40 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch | 0 | 0 |  |  | 40 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch | 0 | 0
41 | UG 3w3w 600A + #7box |  | Switch | 0 | 0 |  |  | 41 | UG 3w3w 600A + #7box |  | Switch | 0 | 0 |  |  | 41 | UG 3w3w 600A + #7box |  | Switch | 0 | 0
42 | UG 3w3w 200A + #6box |  | Switch | 0 | 0 |  |  | 42 | UG 3w3w 200A + #6box |  | Switch | 0 | 0 |  |  | 42 | UG 3w3w 200A + #6box |  | Switch | 0 | 0
43 | UG PMI-9TT (non-SCADA) |  | Interrupter | 2 |  |  |  | 43 | UG PMI-9TT (non-SCADA) |  | Interrupter | 0 | 0 |  |  | 43 | UG PMI-9TT (non-SCADA) |  | Interrupter | 2
44 | UG PMI-9TT (SCADA) |  | Interrupter | 0 | 0 |  |  | 44 | UG PMI-9TT (SCADA) |  | Interrupter | 0 | 0 |  |  | 44 | UG PMI-9TT (SCADA) |  | Interrupter | 0 | 0
45 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter | 0 | 0 |  |  | 45 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter | 0 | 0 |  |  | 45 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter | 0 | 0
46 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor | 0 | 0 |  |  | 46 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor | 0 | 0 |  |  | 46 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor | 0 | 0
47 | SCADA on UG Pad-mounted Capacitor |  | Capacitor | 0 | 0 |  |  | 47 | SCADA on UG Pad-mounted Capacitor |  | Capacitor | 0 | 0 |  |  | 47 | SCADA on UG Pad-mounted Capacitor |  | Capacitor | 0 | 0
|  |  | Total Unit Cost | Percent | [6 empty] | Total Unit Cost | Percent | [6 empty] | Total Unit Cost | Percent
|  |  | contingecy | 0% | 0 | [5 empty] | contingecy | 0% | 0 | [5 empty] | contingecy | 0% | 0
|  |  | Total Unit Cost + contingency | [7 empty] | Total Unit Cost + contingency | [7 empty] | Total Unit Cost + contingency
* Note 1: 2 CU should be used instead of 1/0 AR for all tap line sections in corrosion zones.

## 08W - Preferred-BC1101CB-Seg1
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB Sg1 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 1158 |  | 0.21932 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 1158 |  | 0.21932 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot | 204 |  | 0.038636 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator |  | 0 |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse |  | 0
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 2
29 | OH Recloser** |  | Recloser | 1
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Preferred-BC1101CB-Seg2
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35224712 | Bucks Creek 1101 CB Sg 2 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 1222 |  | 0.23144 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 1222 |  | 0.23144 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot | 9175 |  | 1.7377 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot | 6958 |  | 1.3178 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 3 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse |  | 0
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 3
29 | OH Recloser** |  | Recloser |  | 0
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter | 2
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Preferred-BC1101CB-Seg3
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35224713 | Bucks Creek 1101 CB Sg 3 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 160 |  | 0.030303 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 160 |  | 0.030303 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot | 9690 |  | 1.8352 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 1 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse | 1
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 1
29 | OH Recloser** |  | Recloser |  | 0
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 1-BC1101CB-Seg1
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB Sg1 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL OH
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 1351 |  | 0.25587 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 1351 |  | 0.25587 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator |  | 0 |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse |  | 0
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch |  | 0
29 | OH Recloser** |  | Recloser | 1
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 1-BC1101CB-Seg2
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35224712 | Bucks Creek 1101 CB Sg 2 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL OH
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 9379 |  | 1.7763 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 9379 |  | 1.7763 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 1 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse |  | 0
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 1
29 | OH Recloser** |  | Recloser |  | 0
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 1-BC1101CB-Seg3
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35224713 | Bucks Creek 1101 CB Sg 3 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | ALL OH
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 14249 |  | 2.6987 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 14249 |  | 2.6987 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 1 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse | 1
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 1
29 | OH Recloser** |  | Recloser |  | 0
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 2-BC1101CB-Seg1
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35217268 | Bucks Creek 1101 CB Sg1 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | Blend OH/UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 1351 |  | 0.25587 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 1351 |  | 0.25587 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator |  | 0 |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse |  | 0
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch |  | 0
29 | OH Recloser** |  | Recloser | 1
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter | 2
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 2-BC1101CB-Seg2
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35224712 | Bucks Creek 1101 CB Sg 2 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | Blend OH/UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 9988 |  | 1.8917 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 9988 |  | 1.8917 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot |  | 0 | 0 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator |  | 0 |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse |  | 0
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch |  | 0
29 | OH Recloser** |  | Recloser |  | 0
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## 08W - Alt 2-BC1101CB-Seg3
Pacific Gas and Electric Company
Unit Cost Worksheet - MAT 08W
|  | PM # | Project Name (Short Text)
Line No. |  | 35224713 | Bucks Creek 1101 CB Sg 3 | Unit Cost Calculator |  | Unit Conversion |  | Adding Cost Instructions for Miscellaneous Section
|  | Project Scope/Type | Blend OH/UG
1
2
3 | Description | Unit Cost | Per |  | Total | Quantity | Per | Description | Unit Cost | Per | Part of blended Reconductor cost | Add Cost | Scope
4
5 | Level 1 Hardening |  |  | Quantity |  |  |  | Miscellaneous (New Equipment)
6 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | New installation
7 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | OH Single Phase Switch |  | Switch | N | Y | New installation
8 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot | 160 |  | 0.030303 | Mile | OH Fuse |  | Fuse | N | Y | New installation
9 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fuse Saver |  | Fuse Saver | N | Y | New installation / Upgrade
10 | Vegetation Work |  | Foot | 160 |  | 0.030303 | Mile | OH Switch (Non-SCADA) |  | Switch | N | Y | New installation
11 | Level 2 Hardening |  |  | Quantity |  |  |  | OH Switch (SCADA) |  | Switch | N | Y | New installation / Upgrade
12 | OH Reconductor / New (Mainline - 397 AA) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | New installation / Upgrade
13 | OH Reconductor / New (Mainline - 715 AA) |  | Foot |  | 0 | 0 | Mile | Miscellaneous (Remove, relocate, replace, or install)
14 | OH Reconductor / New (Tap Line - 1/0 AR) |  | Foot |  | 0 | 0 | Mile | Capacitor |  | Capacitor | N | Y | Replace, Relocate, Remove, add SCADA
15 | OH Reconductor / New (Tap Line - 2 CU)* |  | Foot |  | 0 | 0 | Mile | OH Fault Indicator |  | Fault Indicator | N | Y | Replace, Relocate, Remove
16 | Vegetation Work |  | Foot |  | 0 | 0 | Mile | Regulator |  | Regulator | N | Y | Replace, Relocate, Remove, add SCADA
17 | Level 3 Hardening |  |  | Quantity |  |  |  | OH Fuse |  | Fuse | N | Y | Relocate, Replace, Remove
18 | OH to UG Conversion (Mainline - 600 AL) |  | Foot |  | 0 | 0 | Mile | OH Switch |  | Switch | N | Y | Relocate, Replace, Remove
19 | OH to UG Conversion (Mainline - 1100 EPR) |  | Foot |  | 0 | 0 | Mile | OH Recloser |  | Recloser | N | Y | Relocate, Replace, Remove
20 | OH to UG Conversion (Tap Line - 1/0 EPR) |  | Foot | 9690 |  | 1.8352 | Mile
21 | Remote Grid |  |  | Peak kVA |  |  |  | Add 3rd Ø to reconductor | 0 | Foot | Y | N | Install
22 | Remote Grid |  |  |  | $ - |  |  | UG PMI-9R (non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
23 | Miscellaneous: New / Upgrade (**) |  |  | Quantity |  |  |  | UG PMI-11R (Non-SCADA) 21kV only |  | Interrupter | N | Y | Relocate, Replace, Remove
24 | OH Fault Indicator |  | Fault Indicator | 1 |  |  |  | UG PMI-4R |  | Interrupter | N | Y | Relocate, Replace, Remove
25 | OH Single Phase Switch (Solid Blades) |  | Switch |  | 0
26 | OH Fuse |  | Fuse | 1
27 | OH Fuse Saver** |  | Fuse Saver |  | 0
28 | OH Gang Operated Switch (Non-SCADA) |  | Switch | 1
29 | OH Recloser** |  | Recloser |  | 0
30 | OH Capacitor |  | Capacitor |  | 0
31 | SCADA on OH Capacitor |  | Capacitor |  | 0
32 | OH Regulator |  | Regulator Bank |  | 0
33 | Riser Pole or Pole |  | Riser |  | 0
34 | UG Fuse |  | Fuse |  | 0
35 | UG Interrupter |  | Interrupter |  | 0
36 | UG transformer |  | Transformer |  | 0
37 | UG Subsurface 200A 3w or 4w junction + #6box |  | Switch |  | 0
38 | UG Subsurface 600A 3w or 4w junction + #7 box |  | Switch |  | 0
39 | UG SW-INT-SW (600A or 200A interrupters) + #7 box |  | Interrupter |  | 0
40 | UG 600A or 200A Pad-mounted interrupters |  | Interrupter |  | 0
41 | UG 3w3w 600A SW (SCADA) + #7box |  | Switch |  | 0
42 | UG 3w3w 600A + #7box |  | Switch |  | 0
43 | UG 3w3w 200A + #6box |  | Switch |  | 0
44 | UG PMI-9TT (non-SCADA) |  | Interrupter |  | 0
45 | UG PMI-9TT (SCADA) |  | Interrupter |  | 0
46 | UG PMI-11 or PMI-9 (SCADA) |  | Interrupter |  | 0
47 | UG Pad-mounted Capacitor (non-SCADA) |  | Capacitor |  | 0
48 | SCADA on UG Pad-mounted Capacitor |  | Capacitor |  | 0
Total Unit Cost

## Drop down option
ALL OH
ALL UG
Blend OH/UG