## PSPS
| Target Circuit | STANISLAUS 1702
| Summary Statistics | Hx |  | Actuals
| Circuit Count | 505 |  | 787
| Upper Decile | 15 | 2170 | 6 | 2768.5
| Upper Quartile | 8 | 1196.5 | 3 | 1589
|  | Hx |  | Actuals |  | Quartile Customer Impact Analysis |  |  | Decile Customer Impact Analysis
Series Marker | Ckt Name | Customer Events (Hx) | Median Customer Impact (Hx) | Customer Events (19/20) | Median Customer Impact (19/20) | Hx Criteria (Median) | Actual Criteria (Median) | Target (Median) | Hx Criteria (Median) | Actual Criteria (Median) | Target (Median)
1 | STANISLAUS 1702 | 11 | 4900 | 5 | 4891 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | PLACERVILLE 2106 | 18 | 5175 | 6 | 5140.5 | Meets Criteria | Meets Criteria | Target | Meets Criteria | Meets Criteria | Target
0 | EL DORADO PH 2101 | 19 | 4572 | 4 | 4561 | Meets Criteria | Meets Criteria | Target | Meets Criteria | No | Target
0 | APPLE HILL 2102 | 14 | 4395 | 6 | 4383 | Meets Criteria | Meets Criteria | Target | No | Meets Criteria | Target
0 | PINE GROVE 1102 | 20 | 4241 | 6 | 4233 | Meets Criteria | Meets Criteria | Target | Meets Criteria | Meets Criteria | Target
0 | WEST POINT 1102 | 21 | 2827 | 6 | 2815 | Meets Criteria | Meets Criteria | Target | Meets Criteria | Meets Criteria | Target
0 | ORO FINO 1101 | 22 | 2290 | 11 | 2280 | Meets Criteria | Meets Criteria | Target | Meets Criteria | No | Target
0 | PARADISE 1104 | 23 | 1995 | 11 | 830 | Meets Criteria | No | Target | No | No | N/A
0 | SILVERADO 2104 | 21 | 2170 | 7 | 2350 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | BRUNSWICK 1106 | 12 | 4498 | 7 | 4475 | Meets Criteria | Meets Criteria | Target | No | Meets Criteria | Target
0 | ORO FINO 1102 | 23 | 1976 | 10 | 1952 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | BRUNSWICK 1105 | 12 | 3686 | 6 | 3666 | Meets Criteria | Meets Criteria | Target | No | Meets Criteria | Target
0 | CALISTOGA 1102 | 20 | 2071 | 7 | 2113 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | WEST POINT 1101 | 20 | 1760 | 6 | 1755 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | DUNBAR 1101 | 16 | 3203 | 7 | 2649 | Meets Criteria | Meets Criteria | Target | Meets Criteria | No | Target
0 | PARADISE 1105 | 23 | 1430 | 11 | 1188.5 | Meets Criteria | No | Target | No | No | N/A
0 | APPLE HILL 1104 | 15 | 2429 | 6 | 2424.5 | Meets Criteria | Meets Criteria | Target | Meets Criteria | No | Target
0 | CALISTOGA 1101 | 23 | 1566 | 8 | 1548 | Meets Criteria | No | Target | No | No | N/A
0 | SALT SPRINGS 2102 | 15 | 1978 | 5 | 1983.5 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | RINCON 1102 | 9 | 4596 | 4 | 4575 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | FORESTHILL 1101 | 15 | 2223 | 6 | 2213 | Meets Criteria | Meets Criteria | Target | Meets Criteria | No | Target
0 | RINCON 1101 | 17 | 1800 | 6 | 3657 | Meets Criteria | Meets Criteria | Target | No | Meets Criteria | Target
0 | BRUNSWICK 1103 | 11 | 3200 | 5 | 3198 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | MOUNTAIN QUARRIES 2101 | 9 | 3622 | 6 | 2972.5 | Meets Criteria | Meets Criteria | Target | No | Meets Criteria | Target
0 | CAMP EVERS 2106 | 14 | 1524 | 4 | 3747.5 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | PLACERVILLE 1112 | 10 | 2068 | 5 | 2054 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | RINCON 1104 | 6 | 3981 | 4 | 4015 | No | Meets Criteria | Target | No | No | N/A
0 | EL DORADO PH 2102 | 15 | 1596 | 5 | 1587 | Meets Criteria | No | Target | No | No | N/A
0 | BRUNSWICK 1107 | 9 | 2680 | 5 | 2657 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | DUNBAR 1103 | 13 | 2354 | 7 | 308 | Meets Criteria | No | Target | No | No | N/A
0 | MIWUK 1702 | 5 | 3775 | 4 | 3767.5 | No | Meets Criteria | Target | No | No | N/A
0 | VOLTA 1102 | 8 | 2574.5 | 6 | 2563 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | MIWUK 1701 | 5 | 3655 | 4 | 3641 | No | Meets Criteria | Target | No | No | N/A
0 | CURTIS 1702 | 5 | 4038 | 4 | 4316 | No | Meets Criteria | Target | No | No | N/A
0 | OAKHURST 1103 | 7 | 3807 | 2 | 3811 | No | No | N/A | No | No | N/A
0 | WYANDOTTE 1107 | 13 | 2385 | 9 | 1911 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | ALLEGHANY 1101 | 17 | 1034 | 5 | 1033 | No | No | N/A | No | No | N/A
0 | HALSEY 1101 | 9 | 2284 | 4 | 2258 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | HIGGINS 1104 | 7 | 2710 | 4 | 2706.5 | No | Meets Criteria | Target | No | No | N/A
0 | CHALLENGE 1102 | 23 | 828 | 7 | 822 | No | No | N/A | No | No | N/A
0 | LOS GATOS 1106 | 18 | 1348 | 4 | 1366.5 | Meets Criteria | No | Target | No | No | N/A
0 | RACETRACK 1703 | 4 | 3436 | 4 | 3418.5 | No | Meets Criteria | Target | No | No | N/A
0 | BRUNSWICK 1110 | 10 | 1801 | 5 | 3075 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | RINCON 1103 | 17 | 1592 | 6 | 2013.5 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | DIAMOND SPRINGS 1106 | 8 | 2347 | 6 | 2335 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | BRUNSWICK 1104 | 9 | 1789 | 5 | 2520 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | CLARK ROAD 1102 | 22 | 493.5 | 11 | 1053 | No | No | N/A | No | No | N/A
0 | HALSEY 1102 | 11 | 2058 | 4 | 2057.5 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | ELECTRA 1101 | 11 | 1880 | 4 | 1878.5 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | WYANDOTTE 1109 | 8 | 2313 | 6 | 2287 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | NARROWS 2105 | 10 | 1171.5 | 5 | 3903.5 | No | Meets Criteria | Target | No | No | N/A
0 | SILVERADO 2102 | 19 | 1285 | 7 | 759 | Meets Criteria | No | Target | No | No | N/A
0 | VOLTA 1101 | 14 | 842 | 6 | 1286 | No | No | N/A | No | No | N/A
0 | LOS GATOS 1107 | 15 | 1204 | 4 | 1869 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | PLACERVILLE 1111 | 10 | 1093 | 5 | 1063.5 | No | No | N/A | No | No | N/A
0 | SHADY GLEN 1101 | 11 | 1854 | 5 | 1834 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | WEIMAR 1101 | 12 | 1625 | 4 | 1617 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | APPLE HILL 1103 | 12 | 1260 | 6 | 1258 | Meets Criteria | No | Target | No | No | N/A
0 | PLACERVILLE 1110 | 10 | 1546 | 6 | 1573 | Meets Criteria | No | Target | No | No | N/A
0 | CURTIS 1703 | 4 | 3121 | 4 | 3745 | No | Meets Criteria | Target | No | No | N/A
0 | DIAMOND SPRINGS 1105 | 7 | 2468 | 4 | 2459.5 | No | Meets Criteria | Target | No | No | N/A
0 | AUBERRY 1101 | 5 | 2882 | 2 | 3024 | No | No | N/A | No | No | N/A
0 | DUNBAR 1102 | 9 | 1703 | 3 | 2387 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | CHALLENGE 1101 | 21 | 669 | 3 | 669 | No | No | N/A | No | No | N/A
0 | STANISLAUS 1701 | 10 | 1790 | 5 | 1780 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | COLUMBIA HILL 1101 | 17 | 1129 | 5 | 1121 | No | No | N/A | No | No | N/A
0 | MARTELL 1101 | 13 | 1934 | 4 | 1434 | Meets Criteria | No | Target | No | No | N/A
0 | CAMP EVERS 2105 | 14 | 271 | 4 | 3633.5 | No | Meets Criteria | Target | No | No | N/A
0 | GRASS VALLEY 1103 | 11 | 1453 | 4 | 1448.5 | Meets Criteria | No | Target | No | No | N/A
0 | BRUNSWICK 1102 | 12 | 1382 | 7 | 1378 | Meets Criteria | No | Target | No | No | N/A
0 | HALF MOON BAY 1103 | 17 | 752 | 5 | 1936 | No | Meets Criteria | Target | No | No | N/A
0 | HIGGINS 1103 | 7 | 1930 | 4 | 1932.5 | No | Meets Criteria | Target | No | No | N/A
0 | DOBBINS 1101 | 21 | 661 | 9 | 846 | No | No | N/A | No | No | N/A
0 | DIAMOND SPRINGS 1103 | 8 | 1995 | 5 | 1495 | Meets Criteria | No | Target | No | No | N/A
0 | BIG BASIN 1102 | 18 | 767 | 4 | 1609 | No | Meets Criteria | Target | No | No | N/A
0 | HIGGINS 1107 | 8 | 1685 | 3 | 1678 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | NARROWS 2102 | 10 | 715.5 | 6 | 3390 | No | Meets Criteria | Target | No | Meets Criteria | Target
0 | BANGOR 1101 | 19 | 411 | 9 | 2293.5 | No | Meets Criteria | Target | No | No | N/A
0 | CURTIS 1705 | 4 | 2330 | 4 | 2750 | No | Meets Criteria | Target | No | No | N/A
0 | PINE GROVE 1101 | 11 | 1345 | 4 | 1335.5 | Meets Criteria | No | Target | No | No | N/A
0 | CURTIS 1704 | 5 | 2079 | 4 | 2549.5 | No | Meets Criteria | Target | No | No | N/A
0 | DESCHUTES 1104 | 5 | 2161 | 5 | 2362 | No | Meets Criteria | Target | No | No | N/A
0 | WYANDOTTE 1110 | 8 | 1632 | 5 | 1638 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | GRASS VALLEY 1102 | 9 | 1442 | 1 | 1210 | Meets Criteria | No | Target | No | No | N/A
0 | SHINGLE SPRINGS 2109 | 5 | 2056 | 4 | 2596.5 | No | Meets Criteria | Target | No | No | N/A
0 | PLACER 1103 | 7 | 2022 | 2 | 2004.5 | No | No | N/A | No | No | N/A
0 | PARADISE 1106 | 23 | 447 | 10 | 347 | No | No | N/A | No | No | N/A
0 | CALAVERAS CEMENT 1101 | 9 | 780 | 4 | 2224 | No | Meets Criteria | Target | No | No | N/A
0 | BELL 1108 | 6 | 1861 | 4 | 1709 | No | Meets Criteria | Target | No | No | N/A
0 | WOODACRE 1102 | 3 | 3005 | 2 | 2977 | No | No | N/A | No | No | N/A
0 | SPRING GAP 1702 | 6 | 1474.5 | 4 | 1477.5 | No | No | N/A | No | No | N/A
0 | HIGGINS 1109 | 8 | 1610 | 4 | 1614.5 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | FROGTOWN 1701 | 8 | 1321 | 5 | 1914 | Meets Criteria | Meets Criteria | Target | No | No | N/A
0 | WYANDOTTE 1103 | 22 | 97 | 10 | 1474 | No | No | N/A | No | No | N/A
0 | BIG BASIN 1101 | 18 | 238 | 4 | 2260 | No | Meets Criteria | Target | No | No | N/A
0 | COARSEGOLD 2104 | 5 | 494 | 2 | 494 | No | No | N/A | No | No | N/A
0 | COARSEGOLD 2102 | 7 | 1288 | 2 | 1302 | No | No | N/A | No | No | N/A
0 | SAN JOAQUIN NO 2 1103 | 10 | 993 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | FLINT 1101 | 5 | 2033 | 2 | 1165.5 | No | No | N/A | No | No | N/A
0 | SAN JOAQUIN NO 3 1103 | 11 | 864 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | KANAKA 1101 | 23 | 411 | 9 | 605.5 | No | No | N/A | No | No | N/A
0 | OAKHURST 1101 | 4 | 1996 | 2 | 1990 | No | No | N/A | No | No | N/A
0 | CEDAR CREEK 1101 | 13 | 731 | 7 | 732 | No | No | N/A | No | No | N/A
0 | POINT MORETTI 1101 | 13 | 730 | 3 | 1071 | No | No | N/A | No | No | N/A
0 | CURTIS 1701 | 4 | 1590 | 4 | 1794 | No | Meets Criteria | Target | No | No | N/A
0 | PENRYN 1107 | 5 | 1500 | 2 | 2455.5 | No | No | N/A | No | No | N/A
0 | AUBERRY 1102 | 5 | 1592 | 2 | 1589 | No | No | N/A | No | No | N/A
0 | WOODSIDE 1101 | 15 | 358 | 5 | 699 | No | No | N/A | No | No | N/A
0 | SAN RAFAEL 1108 | 2 | 3181 | 2 | 4483.5 | No | No | N/A | No | No | N/A
0 | WYANDOTTE 1105 | 14 | 522 | 7 | 330 | No | No | N/A | No | No | N/A
0 | JESSUP 1102 | 4 | 1548 | 5 | 1549 | No | No | N/A | No | No | N/A
0 | SHADY GLEN 1102 | 12 | 739 | 6 | 736 | No | No | N/A | No | No | N/A
0 | JESSUP 1101 | 4 | 1853 | 4 | 1710 | No | Meets Criteria | Target | No | No | N/A
0 | GEYSERVILLE 1102 | 13 | 951 | 4 | 535 | No | No | N/A | No | No | N/A
0 | HIGGINS 1110 | 9 | 973 | 3 | 1357.5 | No | No | N/A | No | No | N/A
0 | DESCHUTES 1101 | 8 | 874 | 6 | 1032 | No | No | N/A | No | No | N/A
0 | SILVERADO 2105 | 22 | 225 | 7 | 433 | No | No | N/A | No | No | N/A
0 | ROB ROY 2104 | 13 | 378 | 4 | 1818.5 | No | Meets Criteria | Target | No | No | N/A
0 | WISE 1102 | 5 | 1720 | 3 | 1700 | No | Meets Criteria | Target | No | No | N/A
0 | OLETA 1101 | 7 | 1037 | 2 | 1629.5 | No | No | N/A | No | No | N/A
0 | DIAMOND SPRINGS 1107 | 9 | 1290 | 4 | 1294 | Meets Criteria | No | Target | No | No | N/A
0 | CLOVERDALE 1102 | 11 | 921 | 5 | 585.5 | No | No | N/A | No | No | N/A
0 | MOLINO 1102 | 11 | 479 | 2 | 2768.5 | No | No | N/A | No | No | N/A
0 | PIKE CITY 1101 | 19 | 389 | 4 | 389 | No | No | N/A | No | No | N/A
0 | ANDERSON 1101 | 4 | 1554 | 4 | 1579.5 | No | No | N/A | No | No | N/A
0 | BONNIE NOOK 1102 | 13 | 521 | 3 | 522 | No | No | N/A | No | No | N/A
0 | SHINGLE SPRINGS 2105 | 2 | 3952.5 | 2 | 3947.5 | No | No | N/A | No | No | N/A
0 | MIDDLETOWN 1101 | 21 | 67 | 8 | 1622 | No | Meets Criteria | Target | No | No | N/A
0 | BONNIE NOOK 1101 | 13 | 492 | 4 | 493 | No | No | N/A | No | No | N/A
0 | MONTE RIO 1113 | 1 | 3837 | 2 | 3829.5 | No | No | N/A | No | No | N/A
0 | COTTONWOOD 1103 | 3 | 2423 | 4 | 2446 | No | Meets Criteria | Target | No | No | N/A
0 | SAN JOAQUIN NO 3 1101 | 10 | 693 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | MARTELL 1102 | 8 | 1216 | 2 | 1217.5 | Meets Criteria | No | Target | No | No | N/A
0 | PLACERVILLE 1109 | 10 | 571 | 6 | 570.5 | No | No | N/A | No | No | N/A
0 | CLARKSVILLE 2104 | 2 | 3604 | 2 | 4470 | No | No | N/A | No | No | N/A
0 | GRASS VALLEY 1101 | 9 | 764 | 5 | 735.5 | No | No | N/A | No | No | N/A
0 | PARADISE 1103 | 23 | 274 | 11 | 737 | No | No | N/A | No | No | N/A
0 | FORESTHILL 1102 | 15 | 422 | 5 | 421 | No | No | N/A | No | No | N/A
0 | GEYSERVILLE 1101 | 7 | 1115 | 4 | 1279 | No | No | N/A | No | No | N/A
0 | MONTICELLO 1101 | 12 | 489.5 | 7 | 1212 | No | No | N/A | No | No | N/A
0 | BIG TREES 0402 | 7 | 144 | 3 | 858 | No | No | N/A | No | No | N/A
0 | CAMP EVERS 2103 | 3 | 3229 | 2 | 3172 | No | No | N/A | No | No | N/A
0 | WEIMAR 1102 | 10 | 636 | 3 | 632 | No | No | N/A | No | No | N/A
0 | REDBUD 1101 | 7 | 563 | 4 | 1619 | No | Meets Criteria | Target | No | No | N/A
0 | FROGTOWN 1702 | 6 | 400 | 4 | 2409.5 | No | Meets Criteria | Target | No | No | N/A
0 | KONOCTI 1102 | 2 | 1862 | 3 | 2702 | No | Meets Criteria | Target | No | No | N/A
0 | DEL MAR 2109 | 2 | 3237.5 | 1 | 1534 | No | No | N/A | No | No | N/A
0 | DIAMOND SPRINGS 1104 | 6 | 1002 | 4 | 524.5 | No | No | N/A | No | No | N/A
0 | PANORAMA 1101 | 4 | 1123 | 5 | 794 | No | No | N/A | No | No | N/A
0 | BIG BEND 1101 | 22 | 243 | 8 | 192 | No | No | N/A | No | No | N/A
0 | PUEBLO 1104 | 10 | 633 | 5 | 604 | No | No | N/A | No | No | N/A
0 | MENLO 1103 | 14 | 450 | 4 | 364.5 | No | No | N/A | No | No | N/A
0 | ALTO 1125 | 1 | 3428 | 3 | 3403 | No | Meets Criteria | Target | No | No | N/A
0 | JAMESON 1102 | 8 | 622 | 4 | 1440 | No | No | N/A | No | No | N/A
0 | CLARKSVILLE 2109 | 2 | 3001 | 2 | 1711 | No | No | N/A | No | No | N/A
0 | EAST QUINCY 1101 | 0 | 0 | 1 | 1501 | No | No | N/A | No | No | N/A
0 | AUBURN 1102 | 6 | 981 | 2 | 1370.5 | No | No | N/A | No | No | N/A
0 | PUEBLO 2103 | 13 | 501 | 7 | 181 | No | No | N/A | No | No | N/A
0 | MORAGA 1103 | 1 | 2911 | 3 | 2890 | No | Meets Criteria | Target | No | No | N/A
0 | PLACER 1104 | 6 | 962 | 1 | 2045 | No | No | N/A | No | No | N/A
0 | LUCERNE 1106 | 2 | 2120.5 | 3 | 3039 | No | Meets Criteria | Target | No | No | N/A
0 | LUCERNE 1103 | 2 | 1797.5 | 4 | 2109.5 | No | Meets Criteria | Target | No | No | N/A
0 | SHINGLE SPRINGS 2108 | 2 | 2850.5 | 1 | 2845 | No | No | N/A | No | No | N/A
0 | CLARKSVILLE 2106 | 2 | 2771.5 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | ROSSMOOR 1108 | 1 | 2868 | 3 | 2869 | No | Meets Criteria | Target | No | No | N/A
0 | PEORIA 1705 | 4 | 508.5 | 4 | 908.5 | No | No | N/A | No | No | N/A
0 | OREGON TRAIL 1104 | 4 | 957 | 5 | 956 | No | No | N/A | No | No | N/A
0 | MIDDLETOWN 1102 | 2 | 1499.5 | 4 | 2297 | No | Meets Criteria | Target | No | No | N/A
0 | OAKHURST 1102 | 4 | 1046 | 2 | 1042.5 | No | No | N/A | No | No | N/A
0 | LOW GAP 1101 | 9 | 270 | 5 | 692 | No | No | N/A | No | No | N/A
0 | SALT SPRINGS 2101 | 16 | 218.5 | 5 | 386.5 | No | No | N/A | No | No | N/A
0 | BUTTE 1105 | 21 | 191 | 10 | 230 | No | No | N/A | No | No | N/A
0 | SONOMA 1105 | 13 | 382 | 4 | 382 | No | No | N/A | No | No | N/A
0 | ALTO 1124 | 1 | 3013 | 2 | 2947 | No | No | N/A | No | No | N/A
0 | STELLING 1110 | 18 | 266 | 4 | 392.5 | No | No | N/A | No | No | N/A
0 | BELL 1109 | 7 | 723 | 3 | 354 | No | No | N/A | No | No | N/A
0 | STAFFORD 1101 | 1 | 4894 | 1 | 4881 | No | No | N/A | No | No | N/A
0 | OREGON TRAIL 1103 | 1 | 1122 | 6 | 1707 | No | Meets Criteria | Target | No | No | N/A
0 | WOODACRE 1101 | 3 | 1198 | 2 | 1192 | No | No | N/A | No | No | N/A
0 | SANTA ROSA A 1104 | 9 | 462 | 6 | 1383.5 | No | No | N/A | No | No | N/A
0 | TAR FLAT 0402 | 4 | 952 | 4 | 479.5 | No | No | N/A | No | No | N/A
0 | REDBUD 1102 | 2 | 1153.5 | 3 | 3183 | No | Meets Criteria | Target | No | No | N/A
0 | CLAYTON 2215 | 2 | 1938 | 3 | 427 | No | No | N/A | No | No | N/A
0 | ELECTRA 1102 | 6 | 656 | 2 | 642 | No | No | N/A | No | No | N/A
0 | SAN RAFAEL 1107 | 1 | 4084 | 2 | 2484.5 | No | No | N/A | No | No | N/A
0 | SONOMA 1103 | 14 | 313 | 5 | 314 | No | No | N/A | No | No | N/A
0 | HORSESHOE 1101 | 4 | 1110 | 2 | 936.5 | No | No | N/A | No | No | N/A
0 | FITCH MOUNTAIN 1113 | 7 | 383 | 3 | 1441 | No | No | N/A | No | No | N/A
0 | OAKLAND K 1104 | 0 | 0 | 3 | 2134.5 | No | Meets Criteria | Target | No | No | N/A
0 | BEN LOMOND 1101 | 3 | 1416 | 3 | 726 | No | No | N/A | No | No | N/A
0 | CLARKSVILLE 2105 | 2 | 2095 | 1 | 917 | No | No | N/A | No | No | N/A
0 | HIGHLANDS 1103 | 9 | 52 | 5 | 2416 | No | Meets Criteria | Target | No | No | N/A
0 | GIRVAN 1102 | 4 | 460 | 4 | 1128 | No | No | N/A | No | No | N/A
0 | PUEBLO 1105 | 11 | 197 | 5 | 477 | No | No | N/A | No | No | N/A
0 | OLETA 1102 | 6 | 885.5 | 3 | 1056 | No | No | N/A | No | No | N/A
0 | TEJON 1102 | 5 | 591 | 3 | 596 | No | No | N/A | No | No | N/A
0 | COARSEGOLD 2103 | 3 | 1993 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | NOTRE DAME 1104 | 18 | 211 | 9 | 219.5 | No | No | N/A | No | No | N/A
0 | GARBERVILLE 1101 | 4 | 835 | 3 | 1188 | No | No | N/A | No | No | N/A
0 | BUCKS CREEK 1103 | 9 | 312 | 5 | 312 | No | No | N/A | No | No | N/A
0 | RACETRACK 1704 | 4 | 669 | 4 | 662 | No | No | N/A | No | No | N/A
0 | KONOCTI 1108 | 1 | 1988 | 3 | 1973 | No | Meets Criteria | Target | No | No | N/A
0 | SOBRANTE 1101 | 1 | 1981 | 3 | 1979 | No | Meets Criteria | Target | No | No | N/A
0 | CORRAL 1102 | 2 | 1970.5 | 1 | 2202 | No | No | N/A | No | No | N/A
0 | COTTONWOOD 1102 | 4 | 500 | 4 | 951 | No | No | N/A | No | No | N/A
0 | STAFFORD 1102 | 1 | 3902 | 1 | 3959 | No | No | N/A | No | No | N/A
0 | WISE 1101 | 4 | 966 | 2 | 953.5 | No | No | N/A | No | No | N/A
0 | PUEBLO 2102 | 15 | 148 | 7 | 220 | No | No | N/A | No | No | N/A
0 | RED BLUFF 1105 | 4 | 942 | 3 | 936 | No | No | N/A | No | No | N/A
0 | PENRYN 1103 | 4 | 1011 | 2 | 1460.5 | No | No | N/A | No | No | N/A
0 | MARIPOSA 2101 | 1 | 3691 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | CAMP EVERS 2104 | 8 | 181.5 | 3 | 1623 | No | Meets Criteria | Target | No | No | N/A
0 | PENRYN 1105 | 3 | 1380 | 2 | 1625.5 | No | No | N/A | No | No | N/A
0 | RED BLUFF 1104 | 4 | 909 | 3 | 911 | No | No | N/A | No | No | N/A
0 | SOBRANTE 1102 | 1 | 1798 | 3 | 1794 | No | Meets Criteria | Target | No | No | N/A
0 | COTTONWOOD 1101 | 2 | 897 | 3 | 882 | No | No | N/A | No | No | N/A
0 | CLAY 1101 | 3 | 1680 | 1 | 1671 | No | No | N/A | No | No | N/A
0 | GARBERVILLE 1102 | 2 | 895.5 | 2 | 1706 | No | No | N/A | No | No | N/A
0 | MORAGA 1104 | 1 | 1747 | 3 | 1760 | No | Meets Criteria | Target | No | No | N/A
0 | MIRABEL 1102 | 1 | 1765 | 2 | 2049.5 | No | No | N/A | No | No | N/A
0 | MARTELL 1103 | 4 | 1013 | 1 | 1138 | No | No | N/A | No | No | N/A
0 | ALLEGHANY 1102 | 19 | 153 | 4 | 151.5 | No | No | N/A | No | No | N/A
0 | STILLWATER 1102 | 0 | 0 | 4 | 1367 | No | No | N/A | No | No | N/A
0 | PEORIA 1701 | 2 | 1725.5 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | MONTE RIO 1111 | 3 | 4 | 2 | 1716 | No | No | N/A | No | No | N/A
0 | ALTO 1122 | 1 | 3430 | 1 | 2845 | No | No | N/A | No | No | N/A
0 | BIG BEND 1102 | 22 | 105 | 9 | 366 | No | No | N/A | No | No | N/A
0 | OAKLAND K 1102 | 0 | 0 | 4 | 1706.5 | No | Meets Criteria | Target | No | No | N/A
0 | FULTON 1102 | 10 | 201.5 | 4 | 719.5 | No | No | N/A | No | No | N/A
0 | ALPINE 1102 | 8 | 305 | 4 | 303 | No | No | N/A | No | No | N/A
0 | ANTLER 1101 | 4 | 376 | 3 | 919 | No | No | N/A | No | No | N/A
0 | GANSNER 1101 | 1 | 299 | 2 | 1001 | No | No | N/A | No | No | N/A
0 | BEN LOMOND 0401 | 5 | 746 | 3 | 744 | No | No | N/A | No | No | N/A
0 | SAN RAFAEL 1104 | 2 | 1612.5 | 1 | 4304 | No | No | N/A | No | No | N/A
0 | PEORIA 1704 | 1 | 3212 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | VALLEY VIEW 1106 | 1 | 3171 | 2 | 3826.5 | No | No | N/A | No | No | N/A
0 | MARIPOSA 2102 | 1 | 3160 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | SYCAMORE CREEK 1111 | 6 | 332.5 | 6 | 578 | No | No | N/A | No | No | N/A
0 | HALF MOON BAY 1101 | 9 | 299 | 4 | 1479.5 | No | No | N/A | No | No | N/A
0 | WHITMORE 1101 | 9 | 158 | 5 | 513 | No | No | N/A | No | No | N/A
0 | BELLEVUE 2103 | 5 | 656 | 2 | 1103.5 | No | No | N/A | No | No | N/A
0 | ROSSMOOR 1102 | 1 | 3087 | 1 | 547 | No | No | N/A | No | No | N/A
0 | ELK CREEK 1101 | 3 | 861 | 4 | 687 | No | No | N/A | No | No | N/A
0 | ALPINE 1101 | 8 | 278 | 2 | 278 | No | No | N/A | No | No | N/A
0 | FULTON 1107 | 16 | 117 | 6 | 557 | No | No | N/A | No | No | N/A
0 | CLAY 1103 | 2 | 1462 | 1 | 1038 | No | No | N/A | No | No | N/A
0 | LAS GALLINAS A 1105 | 2 | 1409 | 2 | 1447 | No | No | N/A | No | No | N/A
0 | DRUM 1101 | 11 | 192 | 4 | 191 | No | No | N/A | No | No | N/A
0 | BRIDGEVILLE 1102 | 17 | 52 | 5 | 263 | No | No | N/A | No | No | N/A
0 | IGNACIO 1101 | 1 | 2809 | 1 | 2809 | No | No | N/A | No | No | N/A
0 | GREEN VALLEY 2101 | 9 | 262 | 2 | 694.5 | No | No | N/A | No | No | N/A
0 | ROSSMOOR 1106 | 1 | 2790 | 2 | 2804.5 | No | No | N/A | No | No | N/A
0 | ALTO 1120 | 1 | 1631 | 3 | 1196 | No | No | N/A | No | No | N/A
0 | EDES 1112 | 1 | 3 | 3 | 2851 | No | Meets Criteria | Target | No | No | N/A
0 | BELL 1107 | 4 | 859 | 3 | 855 | No | No | N/A | No | No | N/A
0 | ANDERSON 1103 | 5 | 438 | 4 | 438 | No | No | N/A | No | No | N/A
0 | CLOVERDALE 1101 | 7 | 450 | 2 | 1727 | No | No | N/A | No | No | N/A
0 | MONTE RIO 1112 | 2 | 775.5 | 2 | 1123.5 | No | No | N/A | No | No | N/A
0 | SAN JOAQUIN NO 3 1102 | 10 | 258 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | MORAGA 1105 | 1 | 1726 | 4 | 901 | No | No | N/A | No | No | N/A
0 | NORTH BRANCH 1101 | 3 | 1247 | 1 | 1248 | No | No | N/A | No | No | N/A
0 | JAMESON 1105 | 9 | 157 | 4 | 1522.5 | No | No | N/A | No | No | N/A
0 | MENLO 1102 | 13 | 131 | 4 | 367 | No | No | N/A | No | No | N/A
0 | GIRVAN 1101 | 1 | 104 | 4 | 1264 | No | No | N/A | No | No | N/A
0 | TAMARACK 1101 | 3 | 428 | 4 | 427.5 | No | No | N/A | No | No | N/A
0 | BIG MEADOWS 2101 | 0 | 0 | 2 | 1270.5 | No | No | N/A | No | No | N/A
0 | CORRAL 1103 | 2 | 1267.5 | 1 | 2063 | No | No | N/A | No | No | N/A
0 | TASSAJARA 2112 | 2 | 1196.5 | 3 | 25 | No | No | N/A | No | No | N/A
0 | RALSTON 1101 | 3 | 3 | 1 | 2508 | No | No | N/A | No | No | N/A
0 | MORAGA 1101 | 1 | 1229 | 3 | 1191 | No | No | N/A | No | No | N/A
0 | BOLINAS 1101 | 3 | 11 | 3 | 1596 | No | No | N/A | No | No | N/A
0 | OTTER 1102 | 6 | 458 | 1 | 497 | No | No | N/A | No | No | N/A
0 | HAMILTON BRANCH 1101 | 0 | 0 | 1 | 2337 | No | No | N/A | No | No | N/A
0 | FORT SEWARD 1121 | 11 | 212 | 4 | 211.5 | No | No | N/A | No | No | N/A
0 | UPPER LAKE 1101 | 4 | 235 | 4 | 834.5 | No | No | N/A | No | No | N/A
0 | VACAVILLE 1111 | 4 | 105.5 | 3 | 1089 | No | No | N/A | No | No | N/A
0 | RED BLUFF 1101 | 3 | 664 | 4 | 745.5 | No | No | N/A | No | No | N/A
0 | SPAULDING 1101 | 12 | 166 | 5 | 161 | No | No | N/A | No | No | N/A
0 | SUMMIT 1101 | 0 | 0 | 3 | 1045 | No | No | N/A | No | No | N/A
0 | NAPA 1112 | 8 | 113.5 | 4 | 596 | No | No | N/A | No | No | N/A
0 | ALTO 1123 | 1 | 2080 | 1 | 4693 | No | No | N/A | No | No | N/A
0 | TAR FLAT 0401 | 4 | 345 | 3 | 342.5 | No | No | N/A | No | No | N/A
0 | IGNACIO 1105 | 1 | 2058 | 1 | 4389 | No | No | N/A | No | No | N/A
0 | PETALUMA C 1109 | 2 | 1022.5 | 1 | 2897 | No | No | N/A | No | No | N/A
0 | BURNEY 1101 | 1 | 19 | 2 | 982 | No | No | N/A | No | No | N/A
0 | MIRABEL 1101 | 2 | 760 | 2 | 982.5 | No | No | N/A | No | No | N/A
0 | JESSUP 1103 | 4 | 410 | 5 | 360 | No | No | N/A | No | No | N/A
0 | FORT ROSS 1121 | 4 | 512 | 2 | 434 | No | No | N/A | No | No | N/A
0 | SARATOGA 1107 | 8 | 134.5 | 3 | 1232 | No | No | N/A | No | No | N/A
0 | SONOMA 1104 | 4 | 204 | 3 | 799 | No | No | N/A | No | No | N/A
0 | VACA DIXON 1105 | 4 | 459.5 | 3 | 569 | No | No | N/A | No | No | N/A
0 | CORRAL 1101 | 1 | 1831 | 1 | 2005 | No | No | N/A | No | No | N/A
0 | CLEAR LAKE 1101 | 1 | 819 | 3 | 2310 | No | Meets Criteria | Target | No | No | N/A
0 | SUISUN 1109 | 5 | 360 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | OAKLAND X 1106 | 0 | 0 | 4 | 893.5 | No | No | N/A | No | No | N/A
0 | SAUSALITO 1102 | 1 | 1613 | 3 | 3635 | No | Meets Criteria | Target | No | No | N/A
0 | IGNACIO 1103 | 1 | 1757 | 1 | 1821 | No | No | N/A | No | No | N/A
0 | MORAGA 1102 | 1 | 856 | 3 | 842 | No | No | N/A | No | No | N/A
0 | OREGON TRAIL 1102 | 0 | 0 | 3 | 849.5 | No | No | N/A | No | No | N/A
0 | PIT NO 1 1101 | 0 | 0 | 2 | 795.5 | No | No | N/A | No | No | N/A
0 | IONE 1101 | 2 | 840 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | SHINGLE SPRINGS 1103 | 2 | 833 | 1 | 1107 | No | No | N/A | No | No | N/A
0 | AUBURN 1101 | 6 | 275 | 2 | 705.5 | No | No | N/A | No | No | N/A
0 | PINECREST 0401 | 6 | 204 | 4 | 205.5 | No | No | N/A | No | No | N/A
0 | VACAVILLE 1104 | 9 | 180 | 3 | 1537 | No | No | N/A | No | No | N/A
0 | SONOMA 1102 | 12 | 111 | 4 | 270 | No | No | N/A | No | No | N/A
0 | KERCKHOFF 1101 | 5 | 263 | 2 | 260 | No | No | N/A | No | No | N/A
0 | HARTLEY 1101 | 0 | 0 | 3 | 2879 | No | Meets Criteria | Target | No | No | N/A
0 | BUCKS CREEK 1102 | 9 | 119 | 4 | 120 | No | No | N/A | No | No | N/A
0 | CRESCENT MILLS. 2101 | 1 | 139 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | SAN RAFAEL 1106 | 1 | 1535 | 1 | 4529 | No | No | N/A | No | No | N/A
0 | OAKLAND X 1104 | 0 | 0 | 2 | 1455.5 | No | No | N/A | No | No | N/A
0 | OTTER 1101 | 8 | 117.5 | 1 | 137 | No | No | N/A | No | No | N/A
0 | PENNGROVE 1101 | 4 | 326 | 3 | 396 | No | No | N/A | No | No | N/A
0 | STILLWATER 1101 | 1 | 33 | 4 | 700 | No | No | N/A | No | No | N/A
0 | VACAVILLE 1108 | 7 | 232 | 4 | 298.5 | No | No | N/A | No | No | N/A
0 | CLAYTON 2212 | 2 | 330.5 | 3 | 515 | No | No | N/A | No | No | N/A
0 | SHINGLE SPRINGS 2110 | 2 | 720.5 | 1 | 1251 | No | No | N/A | No | No | N/A
0 | PAUL SWEET 2106 | 8 | 141 | 3 | 3152 | No | Meets Criteria | Target | No | No | N/A
0 | SILVERADO 2103 | 13 | 14 | 5 | 320 | No | No | N/A | No | No | N/A
0 | GARBERVILLE 1103 | 2 | 465 | 2 | 458.5 | No | No | N/A | No | No | N/A
0 | MILPITAS 1109 | 2 | 245.5 | 4 | 310 | No | No | N/A | No | No | N/A
0 | ORINDA 0402 | 1 | 902 | 3 | 449 | No | No | N/A | No | No | N/A
0 | BRIDGEVILLE 1101 | 13 | 92 | 4 | 86 | No | No | N/A | No | No | N/A
0 | MC ARTHUR 1101 | 0 | 0 | 1 | 1323 | No | No | N/A | No | No | N/A
0 | SHINGLE SPRINGS 1104 | 1 | 1312 | 1 | 1294 | No | No | N/A | No | No | N/A
0 | FORT SEWARD 1122 | 16 | 90 | 3 | 89 | No | No | N/A | No | No | N/A
0 | LINCOLN 1104 | 3 | 408 | 3 | 672 | No | No | N/A | No | No | N/A
0 | POTTER VALLEY P H 1105 | 7 | 50 | 4 | 449 | No | No | N/A | No | No | N/A
0 | SANTA ROSA A 1111 | 4 | 312.5 | 2 | 2441.5 | No | No | N/A | No | No | N/A
0 | BRYANT 0402 | 1 | 673 | 3 | 586 | No | No | N/A | No | No | N/A
0 | SAN RAMON 2107 | 0 | 0 | 2 | 1230.5 | No | No | N/A | No | No | N/A
0 | SONOMA 1106 | 11 | 95 | 5 | 167 | No | No | N/A | No | No | N/A
0 | WILLOW CREEK 1101 | 8 | 129 | 3 | 750 | No | No | N/A | No | No | N/A
0 | BEAR VALLEY 2105 | 1 | 1202 | 2 | 985 | No | No | N/A | No | No | N/A
0 | CORNING 1102 | 3 | 198 | 3 | 292.5 | No | No | N/A | No | No | N/A
0 | SAN LEANDRO U 1109 | 0 | 0 | 3 | 1145 | No | No | N/A | No | No | N/A
0 | BEAR VALLEY 2101 | 1 | 1143 | 1 | 1130 | No | No | N/A | No | No | N/A
0 | MAPLE CREEK 1101 | 9 | 141 | 2 | 139 | No | No | N/A | No | No | N/A
0 | NARROWS 2101 | 4 | 176 | 6 | 503.5 | No | No | N/A | No | No | N/A
0 | SARATOGA 1106 | 1 | 1091 | 1 | 1083 | No | No | N/A | No | No | N/A
0 | SOBRANTE 1103 | 1 | 546 | 3 | 546 | No | No | N/A | No | No | N/A
0 | ROB ROY 2105 | 12 | 63 | 2 | 7016.5 | No | No | N/A | No | No | N/A
0 | SAN LEANDRO U 1114 | 0 | 0 | 2 | 1081 | No | No | N/A | No | No | N/A
0 | FRUITLAND 1142 | 4 | 43 | 4 | 681.5 | No | No | N/A | No | No | N/A
0 | WINDSOR 1103 | 2 | 538 | 2 | 751 | No | No | N/A | No | No | N/A
0 | ROSSMOOR 1101 | 1 | 1072 | 1 | 1070 | No | No | N/A | No | No | N/A
0 | HORSESHOE 1104 | 4 | 310 | 2 | 795 | No | No | N/A | No | No | N/A
0 | MORGAN HILL 2111 | 8 | 127 | 3 | 1136 | No | No | N/A | No | No | N/A
0 | MORGAN HILL 2105 | 5 | 108 | 1 | 3889 | No | No | N/A | No | No | N/A
0 | LINCOLN 1101 | 3 | 455 | 2 | 1415 | No | No | N/A | No | No | N/A
0 | WILLITS 1104 | 1 | 1009 | 1 | 3037 | No | No | N/A | No | No | N/A
0 | KESWICK 1101 | 0 | 0 | 4 | 466 | No | No | N/A | No | No | N/A
0 | CHESTER 1101 | 0 | 0 | 1 | 939 | No | No | N/A | No | No | N/A
0 | EMERALD LAKE 0402 | 1 | 918 | 1 | 826 | No | No | N/A | No | No | N/A
0 | LOS GATOS 1108 | 1 | 905 | 1 | 769 | No | No | N/A | No | No | N/A
0 | LOS GATOS 1101 | 1 | 886 | 1 | 1235 | No | No | N/A | No | No | N/A
0 | DUNLAP 1103 | 1 | 882 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | LAS GALLINAS A 1106 | 1 | 878 | 1 | 4348 | No | No | N/A | No | No | N/A
0 | PANORAMA 1102 | 4 | 158 | 5 | 152 | No | No | N/A | No | No | N/A
0 | SAUSALITO 1101 | 1 | 854 | 2 | 37 | No | No | N/A | No | No | N/A
0 | GREENBRAE 1102 | 1 | 849 | 1 | 3571 | No | No | N/A | No | No | N/A
0 | LAS AROMAS 0401 | 1 | 848 | 3 | 424 | No | No | N/A | No | No | N/A
0 | CORNING 1101 | 0 | 0 | 3 | 881 | No | No | N/A | No | No | N/A
0 | CHOLAME 2102 | 4 | 267 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | PUTAH CREEK 1102 | 4 | 186 | 5 | 276 | No | No | N/A | No | No | N/A
0 | SUNOL 1101 | 1 | 45 | 3 | 700 | No | No | N/A | No | No | N/A
0 | IGNACIO 1104 | 1 | 785 | 1 | 1553 | No | No | N/A | No | No | N/A
0 | SWIFT 2110 | 3 | 153 | 3 | 404 | No | No | N/A | No | No | N/A
0 | SAN RAFAEL 1101 | 1 | 774 | 1 | 3949 | No | No | N/A | No | No | N/A
0 | ORINDA 0401 | 1 | 478 | 3 | 289 | No | No | N/A | No | No | N/A
0 | WOODSIDE 1104 | 4 | 121.5 | 1 | 1542 | No | No | N/A | No | No | N/A
0 | SARATOGA 1103 | 1 | 735 | 1 | 729 | No | No | N/A | No | No | N/A
0 | PAUL SWEET 2107 | 9 | 57 | 2 | 103.5 | No | No | N/A | No | No | N/A
0 | LAKEWOOD 2107 | 1 | 725 | 2 | 2074 | No | No | N/A | No | No | N/A
0 | HOOPA 1101 | 2 | 65 | 3 | 1762 | No | Meets Criteria | Target | No | No | N/A
0 | RISING RIVER 1101 | 0 | 0 | 1 | 696 | No | No | N/A | No | No | N/A
0 | SALMON CREEK 1101 | 9 | 43 | 2 | 881 | No | No | N/A | No | No | N/A
0 | ANNAPOLIS 1101 | 4 | 118.5 | 4 | 218.5 | No | No | N/A | No | No | N/A
0 | OAKLAND K 1103 | 0 | 0 | 3 | 658 | No | No | N/A | No | No | N/A
0 | PAUL SWEET 2105 | 2 | 332 | 2 | 2241 | No | No | N/A | No | No | N/A
0 | DUNLAP 1102 | 1 | 662 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | HOPLAND 1101 | 3 | 197 | 5 | 162 | No | No | N/A | No | No | N/A
0 | CHESTER 1102 | 0 | 0 | 1 | 651 | No | No | N/A | No | No | N/A
0 | CAYETANO 2109 | 0 | 0 | 3 | 235 | No | No | N/A | No | No | N/A
0 | EMERALD LAKE 0401 | 3 | 18 | 1 | 842 | No | No | N/A | No | No | N/A
0 | LAKEVILLE 1102 | 4 | 141 | 3 | 175 | No | No | N/A | No | No | N/A
0 | INDIAN FLAT 1104 | 1 | 585 | 1 | 579 | No | No | N/A | No | No | N/A
0 | JOLON 1102 | 1 | 577 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | SUMMIT 1102 | 0 | 0 | 3 | 287.5 | No | No | N/A | No | No | N/A
0 | PIKE CITY 1102 | 20 | 24 | 1 | 24 | No | No | N/A | No | No | N/A
0 | JARVIS 1111 | 1 | 527 | 3 | 530 | No | No | N/A | No | No | N/A
0 | SARATOGA 1105 | 1 | 531 | 1 | 528 | No | No | N/A | No | No | N/A
0 | BURNEY 1102 | 0 | 0 | 1 | 522 | No | No | N/A | No | No | N/A
0 | BROWNS VALLEY 1101 | 1 | 373 | 3 | 567 | No | No | N/A | No | No | N/A
0 | POINT ARENA 1101 | 2 | 243.5 | 1 | 867 | No | No | N/A | No | No | N/A
0 | LAYTONVILLE 1102 | 2 | 240 | 1 | 901 | No | No | N/A | No | No | N/A
0 | GREENBRAE 1104 | 1 | 478 | 1 | 2508 | No | No | N/A | No | No | N/A
0 | PLACER 1101 | 4 | 118 | 2 | 703.5 | No | No | N/A | No | No | N/A
0 | VACAVILLE 1109 | 3 | 153 | 2 | 983.5 | No | No | N/A | No | No | N/A
0 | TASSAJARA 2103 | 1 | 268 | 2 | 97.5 | No | No | N/A | No | No | N/A
0 | TASSAJARA 2113 | 0 | 0 | 3 | 446 | No | No | N/A | No | No | N/A
0 | SANTA ROSA A 1107 | 2 | 219 | 1 | 238 | No | No | N/A | No | No | N/A
0 | SANTA MARIA 1108 | 1 | 424 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | LAKEWOOD 1102 | 1 | 421 | 1 | 4 | No | No | N/A | No | No | N/A
0 | RESEARCH 2102 | 2 | 209.5 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | LLAGAS 2107 | 2 | 202.5 | 1 | 396 | No | No | N/A | No | No | N/A
0 | ECHO SUMMIT 1101 | 0 | 0 | 1 | 389 | No | No | N/A | No | No | N/A
0 | SARATOGA 1104 | 1 | 379 | 1 | 378 | No | No | N/A | No | No | N/A
0 | TASSAJARA 2108 | 1 | 372 | 1 | 624 | No | No | N/A | No | No | N/A
0 | ELK 1101 | 1 | 370 | 1 | 1470 | No | No | N/A | No | No | N/A
0 | SAN RAMON 2108 | 1 | 181 | 3 | 1060 | No | No | N/A | No | No | N/A
0 | VASCO 1102 | 0 | 0 | 2 | 382.5 | No | No | N/A | No | No | N/A
0 | BRYANT 0401 | 1 | 183 | 2 | 184 | No | No | N/A | No | No | N/A
0 | FRUITLAND 1141 | 1 | 363 | 3 | 354 | No | No | N/A | No | No | N/A
0 | GUALALA 1111 | 1 | 362 | 1 | 2446 | No | No | N/A | No | No | N/A
0 | OAKLAND D 1112 | 0 | 0 | 2 | 360 | No | No | N/A | No | No | N/A
0 | ARCATA 1122 | 1 | 357 | 2 | 3085 | No | No | N/A | No | No | N/A
0 | CASTRO VALLEY 1110 | 1 | 120 | 2 | 235 | No | No | N/A | No | No | N/A
0 | CLARKSVILLE 2103 | 1 | 353 | 1 | 352 | No | No | N/A | No | No | N/A
0 | PAUL SWEET 2104 | 2 | 162.5 | 1 | 716 | No | No | N/A | No | No | N/A
0 | TIGER CREEK 0201 | 20 | 14 | 2 | 13.5 | No | No | N/A | No | No | N/A
0 | PIT NO 5 1101 | 3 | 1 | 3 | 103.5 | No | No | N/A | No | No | N/A
0 | BERKELEY F 1103 | 0 | 0 | 2 | 313 | No | No | N/A | No | No | N/A
0 | WILLITS 1103 | 1 | 301 | 1 | 2118 | No | No | N/A | No | No | N/A
0 | OAKLAND J 1105 | 0 | 0 | 2 | 777 | No | No | N/A | No | No | N/A
0 | NORTH DUBLIN 2103 | 0 | 0 | 3 | 166 | No | No | N/A | No | No | N/A
0 | POTTER VALLEY P H 1104 | 1 | 298 | 1 | 296 | No | No | N/A | No | No | N/A
0 | TASSAJARA 2104 | 0 | 0 | 2 | 133 | No | No | N/A | No | No | N/A
0 | POSO MOUNTAIN 2101 | 3 | 137 | 1 | 135 | No | No | N/A | No | No | N/A
0 | MIDDLETOWN 1103 | 1 | 144 | 4 | 145 | No | No | N/A | No | No | N/A
0 | MC ARTHUR 1102 | 0 | 0 | 2 | 141 | No | No | N/A | No | No | N/A
0 | TAMARACK 1102 | 0 | 0 | 3 | 135 | No | No | N/A | No | No | N/A
0 | CASTRO VALLEY 1108 | 1 | 79 | 3 | 2286 | No | Meets Criteria | Target | No | No | N/A
0 | HOLLISTER 2105 | 3 | 124 | 1 | 257 | No | No | N/A | No | No | N/A
0 | MOLINO 1101 | 1 | 263 | 1 | 5050 | No | No | N/A | No | No | N/A
0 | SMARTVILLE 1101 | 1 | 259 | 1 | 255 | No | No | N/A | No | No | N/A
0 | HARRIS 1109 | 1 | 255 | 2 | 3832 | No | No | N/A | No | No | N/A
0 | LAYTONVILLE 1101 | 2 | 125.5 | 1 | 707 | No | No | N/A | No | No | N/A
0 | PHILO 1101 | 1 | 242 | 2 | 568.5 | No | No | N/A | No | No | N/A
0 | RADUM 1105 | 0 | 0 | 2 | 242.5 | No | No | N/A | No | No | N/A
0 | SHEPHERD 2111 | 2 | 118 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | LOYOLA 1102 | 1 | 222 | 1 | 26 | No | No | N/A | No | No | N/A
0 | PIT NO 3 2101 | 2 | 23.5 | 3 | 126 | No | No | N/A | No | No | N/A
0 | WILDWOOD 1101 | 1 | 94 | 3 | 129 | No | No | N/A | No | No | N/A
0 | VACA DIXON 1101 | 2 | 109 | 2 | 460.5 | No | No | N/A | No | No | N/A
0 | TYLER 1105 | 0 | 0 | 4 | 1208.5 | No | No | N/A | No | No | N/A
0 | BASALT 1106 | 6 | 10 | 3 | 119 | No | No | N/A | No | No | N/A
0 | SAN LUIS OBISPO 1104 | 1 | 197 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | GUALALA 1112 | 1 | 195 | 1 | 1266 | No | No | N/A | No | No | N/A
0 | HICKS 2101 | 1 | 195 | 2 | 4837 | No | No | N/A | No | No | N/A
0 | TEJON 1103 | 10 | 15 | 2 | 15 | No | No | N/A | No | No | N/A
0 | SAN LUIS OBISPO 1107 | 1 | 187 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | BELL 1110 | 3 | 61 | 2 | 816 | No | No | N/A | No | No | N/A
0 | FELTON 0401 | 4 | 39.5 | 1 | 46 | No | No | N/A | No | No | N/A
0 | NOTRE DAME 1103 | 10 | 14 | 4 | 12 | No | No | N/A | No | No | N/A
0 | SAN BERNARD 1101 | 10 | 16 | 2 | 68 | No | No | N/A | No | No | N/A
0 | MONROE 2103 | 1 | 164 | 2 | 10 | No | No | N/A | No | No | N/A
0 | LOS GATOS 1102 | 1 | 164 | 1 | 254 | No | No | N/A | No | No | N/A
0 | POSO MOUNTAIN 2103 | 7 | 26 | 2 | 23.5 | No | No | N/A | No | No | N/A
0 | ARCATA 1121 | 1 | 159 | 2 | 2703 | No | No | N/A | No | No | N/A
0 | PLACER 1102 | 4 | 38 | 1 | 38 | No | No | N/A | No | No | N/A
0 | COVELO 1101 | 5 | 38 | 1 | 1286 | No | No | N/A | No | No | N/A
0 | MC KEE 1111 | 2 | 4 | 3 | 140 | No | No | N/A | No | No | N/A
0 | SO. CAL. EDISON #3 1101 | 9 | 16 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | JAMESON 1103 | 2 | 34.5 | 4 | 664.5 | No | No | N/A | No | No | N/A
0 | SARATOGA 1115 | 1 | 130 | 1 | 132 | No | No | N/A | No | No | N/A
0 | LAS GALLINAS A 1104 | 1 | 128 | 1 | 2005 | No | No | N/A | No | No | N/A
0 | SISQUOC 1103 | 1 | 127 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | NEWBURG 1131 | 1 | 123 | 2 | 2584 | No | No | N/A | No | No | N/A
0 | SONOMA 1107 | 1 | 118 | 3 | 124 | No | No | N/A | No | No | N/A
0 | GRAYS FLAT 0401 | 0 | 0 | 1 | 121 | No | No | N/A | No | No | N/A
0 | CLEAR LAKE 1102 | 0 | 0 | 3 | 1727 | No | Meets Criteria | Target | No | No | N/A
0 | MESA 1101 | 1 | 114 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | NAPA 1102 | 8 | 14 | 2 | 1864.5 | No | No | N/A | No | No | N/A
0 | BURNS 2101 | 8 | 13 | 2 | 28 | No | No | N/A | No | No | N/A
0 | VACAVILLE 1112 | 1 | 110 | 1 | 2551 | No | No | N/A | No | No | N/A
0 | ATASCADERO 1103 | 1 | 106 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | ALHAMBRA 1105 | 1 | 101 | 1 | 1699 | No | No | N/A | No | No | N/A
0 | PUTAH CREEK 1103 | 1 | 95 | 2 | 1993 | No | No | N/A | No | No | N/A
0 | PAUL SWEET 2102 | 1 | 95 | 2 | 1644 | No | No | N/A | No | No | N/A
0 | LOS OSITOS 2103 | 2 | 46.5 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | CALPINE 1144 | 4 | 15 | 1 | 15 | No | No | N/A | No | No | N/A
0 | RIO DELL 1102 | 1 | 92 | 2 | 1325.5 | No | No | N/A | No | No | N/A
0 | CAL WATER 1102 | 5 | 13 | 1 | 13 | No | No | N/A | No | No | N/A
0 | PERRY 1101 | 1 | 89 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | OLEMA 1101 | 2 | 44 | 1 | 2058 | No | No | N/A | No | No | N/A
0 | LAS GALLINAS A 1107 | 1 | 85 | 1 | 2377 | No | No | N/A | No | No | N/A
0 | WISHON 1101 | 6 | 12 | 1 | 12 | No | No | N/A | No | No | N/A
0 | GREENBRAE 1103 | 1 | 84 | 1 | 2889 | No | No | N/A | No | No | N/A
0 | MC KEE 1103 | 1 | 4 | 1 | 77 | No | No | N/A | No | No | N/A
0 | VINEYARD 2107 | 0 | 0 | 2 | 183 | No | No | N/A | No | No | N/A
0 | SAN MIGUEL 1104 | 2 | 40 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | SWIFT 2107 | 1 | 44 | 3 | 219 | No | No | N/A | No | No | N/A
0 | MC KEE 1107 | 1 | 38 | 2 | 1998.5 | No | No | N/A | No | No | N/A
0 | WHEATLAND 1105 | 1 | 75 | 2 | 197 | No | No | N/A | No | No | N/A
0 | STELLING 1109 | 1 | 74 | 1 | 59 | No | No | N/A | No | No | N/A
0 | SISQUOC 1102 | 1 | 71 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | WYANDOTTE 1102 | 2 | 33 | 3 | 33 | No | No | N/A | No | No | N/A
0 | POSO MOUNTAIN 2104 | 7 | 7 | 2 | 7.5 | No | No | N/A | No | No | N/A
0 | SPENCE 1104 | 1 | 63 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | PUTAH CREEK 1105 | 4 | 9 | 2 | 872.5 | No | No | N/A | No | No | N/A
0 | OCEANO 1104 | 1 | 59 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | COPPERMINE 1104 | 1 | 58 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | SAN ARDO 1102 | 1 | 56 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | BUCKS CREEK 1101 | 9 | 4 | 2 | 4 | No | No | N/A | No | No | N/A
0 | WOODWARD 2108 | 1 | 55 | 1 | 139 | No | No | N/A | No | No | N/A
0 | WAYNE 0401 | 1 | 52 | 1 | 52 | No | No | N/A | No | No | N/A
0 | MC KEE 1108 | 1 | 26 | 1 | 26 | No | No | N/A | No | No | N/A
0 | LAMONT 1102 | 8 | 5 | 1 | 5 | No | No | N/A | No | No | N/A
0 | KERN OIL 1106 | 7 | 7 | 1 | 12 | No | No | N/A | No | No | N/A
0 | UKIAH 1114 | 0 | 0 | 3 | 1690 | No | Meets Criteria | Target | No | No | N/A
0 | ROSSMOOR 1107 | 1 | 44 | 1 | 78 | No | No | N/A | No | No | N/A
0 | HALF MOON BAY 1102 | 2 | 13 | 3 | 4856 | No | Meets Criteria | Target | No | No | N/A
0 | MAXWELL 1105 | 0 | 0 | 2 | 43 | No | No | N/A | No | No | N/A
0 | PIERCY 2110 | 1 | 43 | 2 | 1701 | No | No | N/A | No | No | N/A
0 | TULUCAY 1101 | 5 | 1 | 4 | 32 | No | No | N/A | No | No | N/A
0 | LAS POSITAS 2108 | 0 | 0 | 2 | 49 | No | No | N/A | No | No | N/A
0 | FITCH MOUNTAIN 1111 | 3 | 0 | 2 | 320 | No | No | N/A | No | No | N/A
0 | LAURELES 1111 | 1 | 37 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | NEWBURG 1132 | 1 | 36 | 2 | 3337 | No | No | N/A | No | No | N/A
0 | OAKLAND K 1101 | 0 | 0 | 1 | 35 | No | No | N/A | No | No | N/A
0 | SPANISH CREEK 4401 | 0 | 0 | 1 | 34 | No | No | N/A | No | No | N/A
0 | SCE TEHACHAPI 1101 | 11 | 3 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | WESTLEY 1103 | 0 | 0 | 2 | 33 | No | No | N/A | No | No | N/A
0 | LAKEWOOD 2224 | 1 | 30 | 1 | 19 | No | No | N/A | No | No | N/A
0 | MADISON 2101 | 0 | 0 | 4 | 175.5 | No | No | N/A | No | No | N/A
0 | VINEYARD 2110 | 0 | 0 | 2 | 30 | No | No | N/A | No | No | N/A
0 | SYCAMORE CREEK 1109 | 2 | 13 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | VASONA 1102 | 1 | 25 | 1 | 24 | No | No | N/A | No | No | N/A
0 | OAKLAND X 1101 | 0 | 0 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | CAYETANO 2111 | 0 | 0 | 2 | 31.5 | No | No | N/A | No | No | N/A
0 | HIGHLANDS 1102 | 0 | 0 | 4 | 3393 | No | Meets Criteria | Target | No | No | N/A
0 | NOVATO 1104 | 1 | 23 | 1 | 2368 | No | No | N/A | No | No | N/A
0 | FREMONT 1104 | 0 | 0 | 1 | 23 | No | No | N/A | No | No | N/A
0 | SEACLIFF 0401 | 1 | 22 | 1 | 365 | No | No | N/A | No | No | N/A
0 | EL CERRITO G 1105 | 0 | 0 | 1 | 21 | No | No | N/A | No | No | N/A
0 | HICKS 2103 | 1 | 20 | 1 | 67 | No | No | N/A | No | No | N/A
0 | COALINGA NO 2 1105 | 1 | 20 | #N/A | #N/A | No | #N/A | #N/A | No | #N/A | N/A
0 | MONROE 2107 | 1 | 16 | 2 | 106 | No | No | N/A | No | No | N/A
0 | WATERSHED 0402 | 2 | 8 | 1 | 6 | No | No | N/A | No | No | N/A
0 | BRENTWOOD SUB 2105 | 0 | 0 | 2 | 72 | No | No | N/A | No | No | N/A
0 | GLENN 1101 | 2 | 5 | 2 | 26 | No | No | N/A | No | No | N/A
0 | ROSSMOOR 1104 | 1 | 14 | 1 | 13 | No | No | N/A | No | No | N/A
0 | LONE TREE 2105 | 1 | 13 | 2 | 38 | No | No | N/A | No | No | N/A
0 | ARBUCKLE 1104 | 0 | 0 | 2 | 13 | No | No | N/A | No | No | N/A
0 | CARLOTTA 1121 | 1 | 11 | 2 | 1076.5 | No | No | N/A | No | No | N/A
0 | GONZALES 1101 | 1 | 10 | 1 | 1818 | No | No | N/A | No | No | N/A
0 | ARVIN 1101 | 2 | 5 | 1 | 412 | No | No | N/A | No | No | N/A
0 | FULTON 1104 | 2 | 5 | 1 | 4 | No | No | N/A | No | No | N/A
0 | HARTLEY 1102 | 0 | 0 | 3 | 1433 | No | No | N/A | No | No | N/A
0 | RAWSON 1103 | 1 | 9 | 2 | 2487 | No | No | N/A | No | No | N/A
0 | GARCIA 0401 | 1 | 9 | 1 | 9 | No | No | N/A | No | No | N/A
0 | CLAYTON 2213 | 1 | 5 | 1 | 4 | No | No | N/A | No | No | N/A
0 | LOGAN CREEK 2102 | 0 | 0 | 2 | 9 | No | No | N/A | No | No | N/A
0 | SANTA ROSA A 1108 | 2 | 4 | 1 | 13 | No | No | N/A | No | No | N/A
0 | CORTINA 1101 | 0 | 0 | 2 | 8 | No | No | N/A | No | No | N/A
0 | PENRYN 1106 | 1 | 4 | 2 | 1068 | No | No | N/A | No | No | N/A
0 | STELLING 1111 | 1 | 4 | 1 | 138 | No | No | N/A | No | No | N/A
0 | SWIFT 2102 | 1 | 4 | 1 | 4 | No | No | N/A | No | No | N/A
0 | CASTRO VALLEY 1111 | 1 | 3 | 2 | 1937.5 | No | No | N/A | No | No | N/A
0 | CLARK ROAD 1101 | 3 | 1 | 3 | 15 | No | No | N/A | No | No | N/A
0 | MILPITAS 1105 | 0 | 0 | 1 | 3 | No | No | N/A | No | No | N/A
0 | ARBUCKLE 1101 | 0 | 0 | 1 | 3 | No | No | N/A | No | No | N/A
0 | BAY MEADOWS 2102 | 1 | 2 | 1 | 1133 | No | No | N/A | No | No | N/A
0 | CARBONA 1101 | 0 | 0 | 1 | 1 | No | No | N/A | No | No | N/A
0 | VINEYARD 2108 | 0 | 0 | 2 | 931.5 | No | No | N/A | No | No | N/A
0 | EL DORADO P H 2101 | #N/A | #N/A | 5 | 4543 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | HARRIS 1108 | #N/A | #N/A | 2 | 4932.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | HIGHLANDS 1104 | #N/A | #N/A | 4 | 2712 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | ARCATA 1105 | #N/A | #N/A | 2 | 4002.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | STATION E EUREKA 1104 | #N/A | #N/A | 2 | 3713.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | JANES CREEK 1103 | #N/A | #N/A | 2 | 3593.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | MIWUK SUB 1702 | #N/A | #N/A | 3 | 3774.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | MIWUK SUB 1701 | #N/A | #N/A | 4 | 3651 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | HUM BAY BANK NO. 11 1102 | #N/A | #N/A | 2 | 3029.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | RACETRACK SUB 1703 | #N/A | #N/A | 3 | 3419.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | COTATI 1102 | #N/A | #N/A | 1 | 5517 | #N/A | No | #N/A | #N/A | No | N/A
0 | PEABODY 2113 | #N/A | #N/A | 2 | 2728.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | PEORIA FLAT 1704 | #N/A | #N/A | 3 | 3072.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | OROVILLE 1101 | #N/A | #N/A | 2 | 2453.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION X 1106 | #N/A | #N/A | 4 | 2865.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | SAN LEANDRO 1109 | #N/A | #N/A | 3 | 2630.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | PEORIA FLAT 1705 | #N/A | #N/A | 4 | 2461 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | JANES CREEK 1101 | #N/A | #N/A | 2 | 2174.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | STATION E EUREKA 1101 | #N/A | #N/A | 2 | 2109.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | STATION A EUREKA 1103 | #N/A | #N/A | 2 | 2070 | #N/A | No | #N/A | #N/A | No | N/A
0 | COARSEGOLD SUB 2104 | #N/A | #N/A | 2 | 4224 | #N/A | No | #N/A | #N/A | No | N/A
0 | MORGAN HILL 2104 | #N/A | #N/A | 2 | 2069 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION K 1104 | #N/A | #N/A | 4 | 2397.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | SUBSTATION G 1105 | #N/A | #N/A | 3 | 3834 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | CASTRO VALLEY 1106 | #N/A | #N/A | 3 | 2089.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | MOLINO 1104 | #N/A | #N/A | 1 | 4043 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION K 1102 | #N/A | #N/A | 4 | 2335.5 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | SNEATH LANE 1106 | #N/A | #N/A | 1 | 4011 | #N/A | No | #N/A | #N/A | No | N/A
0 | PACIFICA 1102 | #N/A | #N/A | 1 | 3924 | #N/A | No | #N/A | #N/A | No | N/A
0 | PEABODY 2108 | #N/A | #N/A | 2 | 1955.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | EL DORADO P H 2102 | #N/A | #N/A | 4 | 1592 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN RAFAEL 1102 | #N/A | #N/A | 1 | 3742 | #N/A | No | #N/A | #N/A | No | N/A
0 | SNEATH LANE 1102 | #N/A | #N/A | 1 | 3741 | #N/A | No | #N/A | #N/A | No | N/A
0 | PEORIA FLAT 1701 | #N/A | #N/A | 2 | 1862 | #N/A | No | #N/A | #N/A | No | N/A
0 | BLUE LAKE 1102 | #N/A | #N/A | 2 | 1825 | #N/A | No | #N/A | #N/A | No | N/A
0 | HIGHWAY 1106 | #N/A | #N/A | 1 | 3594 | #N/A | No | #N/A | #N/A | No | N/A
0 | CARQUINEZ 1103 | #N/A | #N/A | 1 | 3424 | #N/A | No | #N/A | #N/A | No | N/A
0 | MOLINO 1103 | #N/A | #N/A | 1 | 3391 | #N/A | No | #N/A | #N/A | No | N/A
0 | NORTH DUBLIN 2101 | #N/A | #N/A | 1 | 4758 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN RAFAEL 1109 | #N/A | #N/A | 1 | 3328 | #N/A | No | #N/A | #N/A | No | N/A
0 | STATION E EUREKA 1105 | #N/A | #N/A | 2 | 1615.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN RAFAEL 1105 | #N/A | #N/A | 1 | 3077 | #N/A | No | #N/A | #N/A | No | N/A
0 | RED BLUFF 1103 | #N/A | #N/A | 2 | 212 | #N/A | No | #N/A | #N/A | No | N/A
0 | EEL RIVER 1102 | #N/A | #N/A | 2 | 1527.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SOQUEL 0402 | #N/A | #N/A | 2 | 1516.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | CORONA 1103 | #N/A | #N/A | 2 | 1514.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION K 1103 | #N/A | #N/A | 3 | 3092 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | SAN CARLOS 1104 | #N/A | #N/A | 1 | 3009 | #N/A | No | #N/A | #N/A | No | N/A
0 | FAIRVIEW 2207 | #N/A | #N/A | 1 | 3006 | #N/A | No | #N/A | #N/A | No | N/A
0 | COTATI 1105 | #N/A | #N/A | 1 | 3000 | #N/A | No | #N/A | #N/A | No | N/A
0 | ARCATA 1106 | #N/A | #N/A | 2 | 1480.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | PEABODY 2106 | #N/A | #N/A | 2 | 1456.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | CARQUINEZ 1105 | #N/A | #N/A | 1 | 2837 | #N/A | No | #N/A | #N/A | No | N/A
0 | EEL RIVER 1103 | #N/A | #N/A | 2 | 1413.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | PACIFICA 1103 | #N/A | #N/A | 1 | 2808 | #N/A | No | #N/A | #N/A | No | N/A
0 | SNEATH LANE 1107 | #N/A | #N/A | 1 | 2801 | #N/A | No | #N/A | #N/A | No | N/A
0 | CALPELLA 1101 | #N/A | #N/A | 2 | 1362.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SOLEDAD 1114 | #N/A | #N/A | 1 | 2685 | #N/A | No | #N/A | #N/A | No | N/A
0 | STILLWATER STATION 1102 | #N/A | #N/A | 3 | 1372.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | ANDERSON 1102 | #N/A | #N/A | 2 | 1322.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | FORT BRAGG STA A 1101 | #N/A | #N/A | 1 | 2609 | #N/A | No | #N/A | #N/A | No | N/A
0 | OROVILLE 1104 | #N/A | #N/A | 2 | 1265 | #N/A | No | #N/A | #N/A | No | N/A
0 | FORT BRAGG STA A 1104 | #N/A | #N/A | 1 | 2580 | #N/A | No | #N/A | #N/A | No | N/A
0 | HIGHWAY 1101 | #N/A | #N/A | 1 | 4253 | #N/A | No | #N/A | #N/A | No | N/A
0 | BIG RIVER 1101 | #N/A | #N/A | 1 | 2530 | #N/A | No | #N/A | #N/A | No | N/A
0 | TYLER 1103 | #N/A | #N/A | 2 | 1253.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SOLEDAD 2102 | #N/A | #N/A | 1 | 2484 | #N/A | No | #N/A | #N/A | No | N/A
0 | ALTO 1121 | #N/A | #N/A | 1 | 2483 | #N/A | No | #N/A | #N/A | No | N/A
0 | CALWATER 1102 | #N/A | #N/A | 2 | 13 | #N/A | No | #N/A | #N/A | No | N/A
0 | FORT BRAGG STA A 1102 | #N/A | #N/A | 1 | 2306 | #N/A | No | #N/A | #N/A | No | N/A
0 | RALSTON 1102 | #N/A | #N/A | 1 | 2260 | #N/A | No | #N/A | #N/A | No | N/A
0 | LOS MOLINOS 1102 | #N/A | #N/A | 2 | 1113 | #N/A | No | #N/A | #N/A | No | N/A
0 | WYANDOTTE 1106 | #N/A | #N/A | 4 | 166 | #N/A | No | #N/A | #N/A | No | N/A
0 | RIO DEL MAR 0401 | #N/A | #N/A | 2 | 1027.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION K 1101 | #N/A | #N/A | 2 | 2059 | #N/A | No | #N/A | #N/A | No | N/A
0 | RIO DELL 1101 | #N/A | #N/A | 2 | 1016 | #N/A | No | #N/A | #N/A | No | N/A
0 | PETALUMA C 1108 | #N/A | #N/A | 2 | 1967 | #N/A | No | #N/A | #N/A | No | N/A
0 | HUM BAY BANK NO. 11 1101 | #N/A | #N/A | 2 | 1008.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | COTATI 1104 | #N/A | #N/A | 1 | 1999 | #N/A | No | #N/A | #N/A | No | N/A
0 | BELMONT 1103 | #N/A | #N/A | 1 | 1994 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN LEANDRO 1114 | #N/A | #N/A | 2 | 2079 | #N/A | No | #N/A | #N/A | No | N/A
0 | COARSEGOLD SUB 2103 | #N/A | #N/A | 1 | 1984 | #N/A | No | #N/A | #N/A | No | N/A
0 | JANES CREEK 1102 | #N/A | #N/A | 1 | 991 | #N/A | No | #N/A | #N/A | No | N/A
0 | LOS MOLINOS 1101 | #N/A | #N/A | 2 | 971 | #N/A | No | #N/A | #N/A | No | N/A
0 | CLIFF DRIVE 0401 | #N/A | #N/A | 1 | 1936 | #N/A | No | #N/A | #N/A | No | N/A
0 | PACIFICA 1101 | #N/A | #N/A | 1 | 1917 | #N/A | No | #N/A | #N/A | No | N/A
0 | CASTRO VALLEY 1104 | #N/A | #N/A | 1 | 1908 | #N/A | No | #N/A | #N/A | No | N/A
0 | WINDSOR 1101 | #N/A | #N/A | 1 | 1884 | #N/A | No | #N/A | #N/A | No | N/A
0 | GERBER 1101 | #N/A | #N/A | 2 | 929.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | HIGHWAY 1104 | #N/A | #N/A | 1 | 3553 | #N/A | No | #N/A | #N/A | No | N/A
0 | LAS GALLINAS A 1103 | #N/A | #N/A | 1 | 1829 | #N/A | No | #N/A | #N/A | No | N/A
0 | WINDSOR 1102 | #N/A | #N/A | 1 | 1829 | #N/A | No | #N/A | #N/A | No | N/A
0 | WILLOW CREEK 1103 | #N/A | #N/A | 2 | 1429.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION X 1104 | #N/A | #N/A | 3 | 1618 | #N/A | Meets Criteria | Target | #N/A | No | N/A
0 | MENDOCINO 1101 | #N/A | #N/A | 1 | 1788 | #N/A | No | #N/A | #N/A | No | N/A
0 | IGNACIO 1102 | #N/A | #N/A | 1 | 1783 | #N/A | No | #N/A | #N/A | No | N/A
0 | SNEATH LANE 1101 | #N/A | #N/A | 1 | 1777 | #N/A | No | #N/A | #N/A | No | N/A
0 | STATION A EUREKA 1107 | #N/A | #N/A | 2 | 857 | #N/A | No | #N/A | #N/A | No | N/A
0 | GERBER 1102 | #N/A | #N/A | 2 | 805 | #N/A | No | #N/A | #N/A | No | N/A
0 | HIGHWAY 1102 | #N/A | #N/A | 1 | 1576 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION X 1105 | #N/A | #N/A | 1 | 1509 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION J 1102 | #N/A | #N/A | 1 | 1489 | #N/A | No | #N/A | #N/A | No | N/A
0 | TRINIDAD 1102 | #N/A | #N/A | 2 | 735 | #N/A | No | #N/A | #N/A | No | N/A
0 | TRINIDAD 1101 | #N/A | #N/A | 2 | 704.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | CRESCENT MILLS 2101 | #N/A | #N/A | 2 | 699 | #N/A | No | #N/A | #N/A | No | N/A
0 | UKIAH 1115 | #N/A | #N/A | 2 | 683.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | DAIRYVILLE 1101 | #N/A | #N/A | 2 | 670.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | OROVILLE 1102 | #N/A | #N/A | 2 | 651.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | PACIFICA 1104 | #N/A | #N/A | 1 | 1269 | #N/A | No | #N/A | #N/A | No | N/A
0 | CASTRO VALLEY 1101 | #N/A | #N/A | 1 | 1239 | #N/A | No | #N/A | #N/A | No | N/A
0 | SPRUCE 0402 | #N/A | #N/A | 1 | 622 | #N/A | No | #N/A | #N/A | No | N/A
0 | CALPELLA 1102 | #N/A | #N/A | 1 | 1232 | #N/A | No | #N/A | #N/A | No | N/A
0 | STILLWATER STATION 1101 | #N/A | #N/A | 4 | 695 | #N/A | No | #N/A | #N/A | No | N/A
0 | UKIAH 1111 | #N/A | #N/A | 1 | 1210 | #N/A | No | #N/A | #N/A | No | N/A
0 | PALO SECO 0401 | #N/A | #N/A | 2 | 604.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | WILLITS 1102 | #N/A | #N/A | 1 | 1204 | #N/A | No | #N/A | #N/A | No | N/A
0 | HICKS 1116 | #N/A | #N/A | 1 | 1198 | #N/A | No | #N/A | #N/A | No | N/A
0 | UKIAH 1113 | #N/A | #N/A | 1 | 1180 | #N/A | No | #N/A | #N/A | No | N/A
0 | RACETRACK SUB 1704 | #N/A | #N/A | 2 | 664 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JOAQUIN #2 1103 | #N/A | #N/A | 2 | 991 | #N/A | No | #N/A | #N/A | No | N/A
0 | COARSEGOLD SUB 2102 | #N/A | #N/A | 2 | 1303 | #N/A | No | #N/A | #N/A | No | N/A
0 | SPRUCE 0401 | #N/A | #N/A | 1 | 690 | #N/A | No | #N/A | #N/A | No | N/A
0 | HIGHWAY 1103 | #N/A | #N/A | 1 | 1247 | #N/A | No | #N/A | #N/A | No | N/A
0 | OROVILLE 1103 | #N/A | #N/A | 2 | 512.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JOAQUIN #3 1103 | #N/A | #N/A | 2 | 860 | #N/A | No | #N/A | #N/A | No | N/A
0 | PHILO 1102 | #N/A | #N/A | 1 | 1003 | #N/A | No | #N/A | #N/A | No | N/A
0 | NEWBURG 1133 | #N/A | #N/A | 2 | 500.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | MERCED FALLS 1102 | #N/A | #N/A | 1 | 1627 | #N/A | No | #N/A | #N/A | No | N/A
0 | EAST MARYSVILLE 1108 | #N/A | #N/A | 1 | 977 | #N/A | No | #N/A | #N/A | No | N/A
0 | FAIRHAVEN 1103 | #N/A | #N/A | 2 | 482.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | HOLLYWOOD 0401 | #N/A | #N/A | 1 | 950 | #N/A | No | #N/A | #N/A | No | N/A
0 | CAROLANDS 0404 | #N/A | #N/A | 1 | 945 | #N/A | No | #N/A | #N/A | No | N/A
0 | EDENVALE 1102 | #N/A | #N/A | 1 | 938 | #N/A | No | #N/A | #N/A | No | N/A
0 | COTATI 1103 | #N/A | #N/A | 1 | 1434 | #N/A | No | #N/A | #N/A | No | N/A
0 | SANTA ROSA A 1103 | #N/A | #N/A | 1 | 935 | #N/A | No | #N/A | #N/A | No | N/A
0 | GREENBRAE 1101 | #N/A | #N/A | 1 | 923 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JOAQUIN PH NO 2 1103 | #N/A | #N/A | 2 | 989 | #N/A | No | #N/A | #N/A | No | N/A
0 | NOVATO 1103 | #N/A | #N/A | 1 | 868 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION G 1112 | #N/A | #N/A | 1 | 831 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JOAQUIN #3 1101 | #N/A | #N/A | 2 | 698 | #N/A | No | #N/A | #N/A | No | N/A
0 | WOOD 0401 | #N/A | #N/A | 2 | 405 | #N/A | No | #N/A | #N/A | No | N/A
0 | TYLER 1104 | #N/A | #N/A | 2 | 402.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | RIDGE 0401 | #N/A | #N/A | 2 | 402 | #N/A | No | #N/A | #N/A | No | N/A
0 | VALLEJO STATION C 0401 | #N/A | #N/A | 1 | 804 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION X 1101 | #N/A | #N/A | 2 | 392.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | OAK 0401 | #N/A | #N/A | 1 | 1009 | #N/A | No | #N/A | #N/A | No | N/A
0 | RIDGE 0402 | #N/A | #N/A | 1 | 773 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN RAFAEL 1103 | #N/A | #N/A | 1 | 773 | #N/A | No | #N/A | #N/A | No | N/A
0 | FORT BRAGG STA A 1103 | #N/A | #N/A | 1 | 736 | #N/A | No | #N/A | #N/A | No | N/A
0 | OROVILLE 0402 | #N/A | #N/A | 2 | 357 | #N/A | No | #N/A | #N/A | No | N/A
0 | BELMONT 1110 | #N/A | #N/A | 1 | 706 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JPAQUIN PH NO 3 1103 | #N/A | #N/A | 2 | 865 | #N/A | No | #N/A | #N/A | No | N/A
0 | PETALUMA A 0411 | #N/A | #N/A | 1 | 656 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION F 1105 | #N/A | #N/A | 1 | 642 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAUSALITO 0401 | #N/A | #N/A | 1 | 625 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN BENITO SUB 2104 | #N/A | #N/A | 1 | 1259 | #N/A | No | #N/A | #N/A | No | N/A
0 | GEARY 0401 | #N/A | #N/A | 1 | 601 | #N/A | No | #N/A | #N/A | No | N/A
0 | VALLEY VIEW 1105 | #N/A | #N/A | 1 | 597 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN CARLOS 1103 | #N/A | #N/A | 1 | 585 | #N/A | No | #N/A | #N/A | No | N/A
0 | BERESFORD 0403 | #N/A | #N/A | 1 | 579 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JOAQUIN PH NO 3 1101 | #N/A | #N/A | 2 | 689 | #N/A | No | #N/A | #N/A | No | N/A
0 | PETALUMA A 0413 | #N/A | #N/A | 1 | 575 | #N/A | No | #N/A | #N/A | No | N/A
0 | GONZALES 1104 | #N/A | #N/A | 1 | 563 | #N/A | No | #N/A | #N/A | No | N/A
0 | SOLEDAD 2101 | #N/A | #N/A | 1 | 563 | #N/A | No | #N/A | #N/A | No | N/A
0 | HIGHWAY 1105 | #N/A | #N/A | 1 | 555 | #N/A | No | #N/A | #N/A | No | N/A
0 | MADISON 1105 | #N/A | #N/A | 1 | 538 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAUSALITO 0402 | #N/A | #N/A | 1 | 523 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION J 1106 | #N/A | #N/A | 1 | 512 | #N/A | No | #N/A | #N/A | No | N/A
0 | ORICK 1102 | #N/A | #N/A | 1 | 247 | #N/A | No | #N/A | #N/A | No | N/A
0 | GONZALES 1103 | #N/A | #N/A | 1 | 493 | #N/A | No | #N/A | #N/A | No | N/A
0 | OROVILLE 0403 | #N/A | #N/A | 2 | 244 | #N/A | No | #N/A | #N/A | No | N/A
0 | FLORENCE 0401 | #N/A | #N/A | 1 | 486 | #N/A | No | #N/A | #N/A | No | N/A
0 | LLAGAS 2101 | #N/A | #N/A | 1 | 473 | #N/A | No | #N/A | #N/A | No | N/A
0 | NOVATO 1102 | #N/A | #N/A | 1 | 464 | #N/A | No | #N/A | #N/A | No | N/A
0 | WALDO 0402 | #N/A | #N/A | 1 | 461 | #N/A | No | #N/A | #N/A | No | N/A
0 | FRENCH GULCH 1101 | #N/A | #N/A | 2 | 229.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | JARVIS 1108 | #N/A | #N/A | 1 | 433 | #N/A | No | #N/A | #N/A | No | N/A
0 | STATION A EUREKA 1106 | #N/A | #N/A | 2 | 214.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION F 0402 | #N/A | #N/A | 1 | 429 | #N/A | No | #N/A | #N/A | No | N/A
0 | RED BLUFF 1102 | #N/A | #N/A | 1 | 394 | #N/A | No | #N/A | #N/A | No | N/A
0 | ARCATA 1123 | #N/A | #N/A | 2 | 184 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JUSTO 1101 | #N/A | #N/A | 1 | 339 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN RAFAEL 1110 | #N/A | #N/A | 1 | 328 | #N/A | No | #N/A | #N/A | No | N/A
0 | CAMPHORA 1101 | #N/A | #N/A | 1 | 327 | #N/A | No | #N/A | #N/A | No | N/A
0 | PRUNEDALE 1110 | #N/A | #N/A | 1 | 327 | #N/A | No | #N/A | #N/A | No | N/A
0 | RESEARCH SUB 2102 | #N/A | #N/A | 1 | 322 | #N/A | No | #N/A | #N/A | No | N/A
0 | WHEELER RIDGE 1101 | #N/A | #N/A | 1 | 319 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION D 1112 | #N/A | #N/A | 2 | 366 | #N/A | No | #N/A | #N/A | No | N/A
0 | MORGAN HILL 2110 | #N/A | #N/A | 1 | 307 | #N/A | No | #N/A | #N/A | No | N/A
0 | PAUL SWEET 2109 | #N/A | #N/A | 1 | 302 | #N/A | No | #N/A | #N/A | No | N/A
0 | BIG LAGOON 1101 | #N/A | #N/A | 2 | 144.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | FAIRMONT 0401 | #N/A | #N/A | 1 | 289 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION F 1103 | #N/A | #N/A | 2 | 339 | #N/A | No | #N/A | #N/A | No | N/A
0 | JANES CREEK 1104 | #N/A | #N/A | 2 | 138.5 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION J 1105 | #N/A | #N/A | 2 | 304 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JOAQUIN #3 1102 | #N/A | #N/A | 2 | 258 | #N/A | No | #N/A | #N/A | No | N/A
0 | WILLOW CREEK 1102 | #N/A | #N/A | 1 | 133 | #N/A | No | #N/A | #N/A | No | N/A
0 | VINA 1101 | #N/A | #N/A | 1 | 121 | #N/A | No | #N/A | #N/A | No | N/A
0 | SAN JOAQUIN PH NO 3 1102 | #N/A | #N/A | 2 | 257 | #N/A | No | #N/A | #N/A | No | N/A
0 | WALDO 0401 | #N/A | #N/A | 1 | 238 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION G 1111 | #N/A | #N/A | 1 | 208 | #N/A | No | #N/A | #N/A | No | N/A
0 | BOSTON 0401 | #N/A | #N/A | 1 | 189 | #N/A | No | #N/A | #N/A | No | N/A
0 | FAIRHAVEN 1104 | #N/A | #N/A | 2 | 92 | #N/A | No | #N/A | #N/A | No | N/A
0 | KERN OIL 1104 | #N/A | #N/A | 1 | 180 | #N/A | No | #N/A | #N/A | No | N/A
0 | PIT NO.5 1101 | #N/A | #N/A | 3 | 112 | #N/A | No | #N/A | #N/A | No | N/A
0 | ORICK 1101 | #N/A | #N/A | 2 | 84 | #N/A | No | #N/A | #N/A | No | N/A
0 | SEACLIFF 0402 | #N/A | #N/A | 1 | 162 | #N/A | No | #N/A | #N/A | No | N/A
0 | BLUE LAKE 1101 | #N/A | #N/A | 2 | 77 | #N/A | No | #N/A | #N/A | No | N/A
0 | ESTUDILLO 0401 | #N/A | #N/A | 1 | 154 | #N/A | No | #N/A | #N/A | No | N/A
0 | TASSAJARA 2107 | #N/A | #N/A | 1 | 149 | #N/A | No | #N/A | #N/A | No | N/A
0 | VALLEY VIEW 1103 | #N/A | #N/A | 1 | 144 | #N/A | No | #N/A | #N/A | No | N/A
0 | LAKEWOOD 2109 | #N/A | #N/A | 1 | 139 | #N/A | No | #N/A | #N/A | No | N/A
0 | LAS PULGAS 0401 | #N/A | #N/A | 1 | 138 | #N/A | No | #N/A | #N/A | No | N/A
0 | MORGAN HILL 2109 | #N/A | #N/A | 1 | 138 | #N/A | No | #N/A | #N/A | No | N/A
0 | ARLINGTON 0401 | #N/A | #N/A | 1 | 137 | #N/A | No | #N/A | #N/A | No | N/A
0 | BELLEVUE 1102 | #N/A | #N/A | 1 | 134 | #N/A | No | #N/A | #N/A | No | N/A
0 | HOLLISTER 2102 | #N/A | #N/A | 1 | 174 | #N/A | No | #N/A | #N/A | No | N/A
0 | LAKEVIEW 1106 | #N/A | #N/A | 1 | 112 | #N/A | No | #N/A | #N/A | No | N/A
0 | HOLLISTER 2104 | #N/A | #N/A | 1 | 152 | #N/A | No | #N/A | #N/A | No | N/A
0 | WOODSIDE 1102 | #N/A | #N/A | 1 | 110 | #N/A | No | #N/A | #N/A | No | N/A
0 | FRANKLIN 1104 | #N/A | #N/A | 1 | 102 | #N/A | No | #N/A | #N/A | No | N/A
0 | PLAINFIELD 1101 | #N/A | #N/A | 1 | 102 | #N/A | No | #N/A | #N/A | No | N/A
0 | TIDE WATER 2106 | #N/A | #N/A | 1 | 102 | #N/A | No | #N/A | #N/A | No | N/A
0 | EDENVALE 1103 | #N/A | #N/A | 1 | 99 | #N/A | No | #N/A | #N/A | No | N/A
0 | BASALT 1101 | #N/A | #N/A | 1 | 87 | #N/A | No | #N/A | #N/A | No | N/A
0 | EIGHT MILE 2104 | #N/A | #N/A | 1 | 82 | #N/A | No | #N/A | #N/A | No | N/A
0 | ANITA 1106 | #N/A | #N/A | 1 | 65 | #N/A | No | #N/A | #N/A | No | N/A
0 | FRENCH GULCH 1102 | #N/A | #N/A | 1 | 35 | #N/A | No | #N/A | #N/A | No | N/A
0 | SWIFT 2108 | #N/A | #N/A | 1 | 67 | #N/A | No | #N/A | #N/A | No | N/A
0 | SWIFT 2109 | #N/A | #N/A | 1 | 33 | #N/A | No | #N/A | #N/A | No | N/A
0 | GONZALES 1102 | #N/A | #N/A | 1 | 57 | #N/A | No | #N/A | #N/A | No | N/A
0 | TASSAJARA 2106 | #N/A | #N/A | 1 | 54 | #N/A | No | #N/A | #N/A | No | N/A
0 | GABILAN 1101 | #N/A | #N/A | 1 | 50 | #N/A | No | #N/A | #N/A | No | N/A
0 | CARQUINEZ 1104 | #N/A | #N/A | 1 | 46 | #N/A | No | #N/A | #N/A | No | N/A
0 | HOLLISTER 2106 | #N/A | #N/A | 1 | 41 | #N/A | No | #N/A | #N/A | No | N/A
0 | SUBSTATION G 1110 | #N/A | #N/A | 1 | 32 | #N/A | No | #N/A | #N/A | No | N/A
0 | STAGG 2107 | #N/A | #N/A | 1 | 28 | #N/A | No | #N/A | #N/A | No | N/A
0 | PUEBLO 2101 | #N/A | #N/A | 1 | 25 | #N/A | No | #N/A | #N/A | No | N/A
0 | EDENVALE 2107 | #N/A | #N/A | 1 | 22 | #N/A | No | #N/A | #N/A | No | N/A
0 | LLAGAS 2106 | #N/A | #N/A | 1 | 21 | #N/A | No | #N/A | #N/A | No | N/A
0 | FRANKLIN 1101 | #N/A | #N/A | 1 | 20 | #N/A | No | #N/A | #N/A | No | N/A
0 | DUNNIGAN 1101 | #N/A | #N/A | 1 | 31 | #N/A | No | #N/A | #N/A | No | N/A
0 | BRENTWOOD 2105 | #N/A | #N/A | 1 | 16 | #N/A | No | #N/A | #N/A | No | N/A
0 | KIRKER SUB 2104 | #N/A | #N/A | 1 | 12 | #N/A | No | #N/A | #N/A | No | N/A
0 | LLAGAS 2104 | #N/A | #N/A | 1 | 12 | #N/A | No | #N/A | #N/A | No | N/A
0 | MEADOW LANE 2106 | #N/A | #N/A | 1 | 12 | #N/A | No | #N/A | #N/A | No | N/A
0 | PIT NO.7 1101 | #N/A | #N/A | 1 | 2 | #N/A | No | #N/A | #N/A | No | N/A
0 | JARVIS 1101 | #N/A | #N/A | 1 | 11 | #N/A | No | #N/A | #N/A | No | N/A
0 | VINEYARD 2105 | #N/A | #N/A | 1 | 11 | #N/A | No | #N/A | #N/A | No | N/A
0 | COAST RD. 0401 | #N/A | #N/A | 1 | 10 | #N/A | No | #N/A | #N/A | No | N/A
0 | LLAGAS 2105 | #N/A | #N/A | 1 | 8 | #N/A | No | #N/A | #N/A | No | N/A
0 | WILLOW PASS 1101 | #N/A | #N/A | 1 | 8 | #N/A | No | #N/A | #N/A | No | N/A
0 | MILPITAS 1108 | #N/A | #N/A | 1 | 3 | #N/A | No | #N/A | #N/A | No | N/A
0 | WILLOW PASS 2107 | #N/A | #N/A | 1 | 5 | #N/A | No | #N/A | #N/A | No | N/A
0 | FRANKLIN 1102 | #N/A | #N/A | 1 | 2 | #N/A | No | #N/A | #N/A | No | N/A
0 | ARBUCKLE 1103 | #N/A | #N/A | 1 | 2 | #N/A | No | #N/A | #N/A | No | N/A
0 | RUSS RANCH 1101 | #N/A | #N/A | 1 | 2 | #N/A | No | #N/A | #N/A | No | N/A
0 | STOREY 1109 | #N/A | #N/A | 1 | 2 | #N/A | No | #N/A | #N/A | No | N/A
0 | WILLOW PASS 2108 | #N/A | #N/A | 1 | 2 | #N/A | No | #N/A | #N/A | No | N/A