## ARLax_OtgQry_T
Region | Division | District | Date and Time | ILIS Link | ILIS Status | OIS Number | Outage Type | Outage Level | Interval | Sub | Circuit | EQ type | Equip ID | Basic Cause | Supplemental Cause | Cust Aff | Cust > 12 Hrs | CMIN | CAIDI | Max Duration | End Date Time | 1 of 3 | EQ Involved | EQ Condition | WDwn | WD on Grd | WD on Obj | WD Ener | Cust on Ckt | MED | Responsible Org | RO Ind | Non Rstr | Sub Area | Sub HQ | EQ ID Latitude | EQ ID Longitude | Outage Event Selection | ILIS Event #
Northern | North Valley | Red Bluff | 07/14/2021 11:41:00 PM | ILIS Link: [21-0089825] | Final | 1404998 | Unplanned | Distribution Circuit | Sust | RED BLUFF | RED BLUFF-1105 | JU | OJ ON TAP TWD CGC 119427531736 | Equipment Failure/Involved | Overhead | 3 | N | 402 | 134 | 134 | 07/15/2021 01:55:00 AM | N | Pole-Wood | Broken | N | N | N | N | 1917 | N | Distribution | N | N |  |  | 40.204092 | -122.206622 | All Outage Events (with no exclusions) | 21-0089825
Northern | North Valley | Oroville | 07/14/2021 09:47:00 PM | ILIS Link: [21-0089826] | Final | 1405000 | Unplanned | Distribution Circuit | Sust | OROVILLE | OROVILLE-1101 | JU | OJ FEEDING 221109866460 | Equipment Failure/Involved | Overhead | 3 | N | 602 | 200.6667 | 201 | 07/15/2021 01:08:00 AM | N | Pole-Wood | Deteriorated | N | N | N | N | 2378 | N | Distribution | N | N |  |  | 39.489843 | -121.607634 | All Outage Events (with no exclusions) | 21-0089826
Northern | North Valley | Willows/Orland | 07/14/2021 07:58:00 PM | ILIS Link: [21-0089810] | Final | 1404922 | Unplanned | Distribution Circuit | Sust | ELK CREEK-BK1 | ELK CREEK-1101 | SW | 8373 | Vegetation | Tree - fell into line | 40 | N | 8440 | 211 | 211 | 07/14/2021 11:29:00 PM | N | Pole-Wood | Broken | N | N | N | N | 914 | N | Distribution | N | N |  |  | 39.2982 | -122.48857 | All Outage Events (with no exclusions) | 21-0089810
Northern | North Valley | Willows/Orland | 07/14/2021 07:06:00 PM | ILIS Link: [21-0089811] | Final | 1404856 | Unplanned | Transformer only | Sust | HAMILTON A | HAMILTON A-1101 | TX | 219976075786 | Equipment Failure/Involved | Overhead | 1 | Y | 809 | 809 | 809 | 07/15/2021 08:35:00 AM | N | Transformer (OH) | Broken | N | N | N | N | 569 | N | Distribution | N | N |  |  | 39.74735 | -122.0096 | All Outage Events (with no exclusions) | 21-0089811
Northern | North Valley | Chico | 07/14/2021 06:02:00 PM | ILIS Link: [21-0089806] | Final | 1404894 | Unplanned | Transformer only | Sust | ESQUON | ESQUON-1101 | TX | 220892570620 | Equipment Failure/Involved | Overhead | 2 | N | 296 | 148 | 148 | 07/14/2021 08:30:00 PM | N | Transformer (OH) | Broken | N | N | N | N | 293 | N | Distribution | N | N |  |  | 39.60493 | -121.6843 | All Outage Events (with no exclusions) | 21-0089806
Northern | North Valley | Chico | 07/14/2021 05:45:00 PM | ILIS Link: [21-0089797] | Final | 1404636 | Unplanned | Transformer only | Sust | ANITA | ANITA-1102 | TX | 219897078822 | Equipment Failure/Involved | Overhead | 2 | N | 1270 | 635 | 635 | 07/15/2021 04:20:00 AM | N | Transformer (OH) | Broken | N | N | N | N | 215 | N | Distribution | N | N |  |  | 39.83085 | -122.03814 | All Outage Events (with no exclusions) | 21-0089797
Northern | North Valley | Paradise | 07/14/2021 02:48:00 PM | ILIS Link: [21-0089718] | Final | 1404752 | Unplanned | Distribution Circuit | Sust | PARADISE-BK2 | PARADISE-1105 | FUS | 1291 | Vegetation | Tree - fell into line | 7 | N | 1446 | 206.5714 | 482 | 07/14/2021 10:50:00 PM | Y | Conductor, Overhead | Broken, wire on ground | Y | Y | N | N | 1848 | N | Distribution | N | N |  |  | 39.79973 | -121.58492 | All Outage Events (with no exclusions) | 21-0089718
Northern | North Valley | Red Bluff | 07/14/2021 12:31:00 PM | ILIS Link: [21-0081565] | Final | 1405069 | Planned | Transformer only | Sust | TYLER-BK2 | TYLER-1105 | TX | 119032730555 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 26 | 26 | 26 | 07/14/2021 12:57:00 PM | N |  |  | N | N | N | N | 1722 | N | Distribution | N | N |  |  | 40.17104 | -122.34761 | All Outage Events (with no exclusions) | 21-0081565
Northern | North Valley | Oroville | 07/14/2021 12:01:00 PM | ILIS Link: [21-0081596] | Final | 1404599 | Planned | Transformer only | Sust | CHALLENGE-BK1 | CHALLENGE-1102 | TX | 222131466382 | Wildfire Mitigation | Planned - WSIP/System Hardening | 3 | N | 66 | 22 | 22 | 07/14/2021 12:23:00 PM | N |  |  | N | N | N | N | 900 | N | Distribution | N | N |  |  | 39.48687 | -121.24557 | All Outage Events (with no exclusions) | 21-0081596
Northern | North Valley | Oroville | 07/14/2021 12:00:00 PM | ILIS Link: [21-0081613] | Final | 1404597 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221840363710 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 10 | 10 | 10 | 07/14/2021 12:10:00 PM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.41492 | -121.34896 | All Outage Events (with no exclusions) | 21-0081613
Northern | North Valley | Oroville | 07/14/2021 11:53:00 AM | ILIS Link: [21-0083052] | Final | 1404588 | Planned | Transformer only | Sust | CHALLENGE-BK1 | CHALLENGE-1102 | TX | 222008864099 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 66 | 66 | 66 | 07/14/2021 12:59:00 PM | N |  |  | N | N | N | N | 900 | N | Distribution | N | N |  |  | 39.42421 | -121.28978 | All Outage Events (with no exclusions) | 21-0083052
Northern | North Valley | Oroville | 07/14/2021 11:00:00 AM | ILIS Link: [21-0081609] | Final | 1404383 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221786564350 | Wildfire Mitigation | Planned - WSIP/System Hardening | 2 | N | 498 | 249 | 249 | 07/14/2021 03:09:00 PM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.43161 | -121.36851 | All Outage Events (with no exclusions) | 21-0081609
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404586 | Unplanned | Transmission line | Sust | BIG MEADOWS-BK1 | BIG MEADOWS-2101 | SU | BIG MEADOWS | Environmental/External | Fire, Forest/Grass | 2623 | N | 401319 | 153 | 153 | 07/14/2021 01:31:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 2623 | N | Transmission line | N | N |  |  | 40.171582 | -121.083985 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404589 | Unplanned | Transmission line | Sust | CHESTER | CHESTER-1101 | SU | CHESTER | Environmental/External | Fire, Forest/Grass | 996 | N | 149400 | 150 | 150 | 07/14/2021 01:28:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 996 | N | Transmission line | N | N |  |  | 40.302917 | -121.22691 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404589 | Unplanned | Transmission line | Sust | CHESTER | CHESTER-1102 | SU | CHESTER | Environmental/External | Fire, Forest/Grass | 664 | N | 98936 | 149 | 149 | 07/14/2021 01:28:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 664 | N | Transmission line | N | N |  |  | 40.302917 | -121.22691 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404579 | Unplanned | Transmission line | Sust | CRESCENT MILLS | CRESCENT MILLS-2101 | SU | CRESCENT MILLS | Environmental/External | Fire, Forest/Grass | 878 | N | 119408 | 136 | 136 | 07/14/2021 01:14:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 880 | N | Transmission line | N | N |  |  | 40.093841 | -120.910398 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404568 | Unplanned | Transmission line | Sust | EAST QUINCY | EAST QUINCY-1101 | SU | EAST QUINCY | Environmental/External | Fire, Forest/Grass | 1564 | N | 284648 | 182 | 182 | 07/14/2021 02:00:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 1565 | N | Transmission line | N | N |  |  | 39.93827 | -120.910573 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404569 | Unplanned | Transmission line | Sust | GANSNER | GANSNER-1101 | SU | GANSNER | Environmental/External | Fire, Forest/Grass | 1731 | N | 240609 | 139 | 139 | 07/14/2021 01:17:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 1731 | N | Transmission line | N | N |  |  | 39.939725 | -120.948587 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404583 | Unplanned | Transmission line | Sust | GRAYS FLAT | GRAYS FLAT-0401 | SU | GRAYS FLAT | Environmental/External | Fire, Forest/Grass | 125 | N | 16125 | 129 | 129 | 07/14/2021 01:07:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 125 | N | Transmission line | N | N |  |  | 40.022198 | -121.063843 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404587 | Unplanned | Transmission line | Sust | HAMILTON BRANCH-BK2 | HAMILTON BRANCH-1101 | SU | HAMILTON BRANCH | Environmental/External | Fire, Forest/Grass | 2390 | N | 377620 | 158 | 158 | 07/14/2021 01:36:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 2390 | N | Transmission line | N | N |  |  | 40.269259 | -121.088171 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Quincy | 07/14/2021 10:58:00 AM | ILIS Link: [21-0089419] | Final | 1404578 | Unplanned | Transmission line | Sust | SPANISH CREEK | SPANISH CREEK-4401 | SU | SPANISH CREEK | Environmental/External | Fire, Forest/Grass | 35 | N | 4725 | 135 | 135 | 07/14/2021 01:13:00 PM | N | Conductor, Overhead | Normal | N | N | N | N | 35 | N | Transmission line | N | N |  |  | 40.027434 | -120.962778 | All Outage Events (with no exclusions) | 21-0089419
Northern | North Valley | Red Bluff | 07/14/2021 10:34:00 AM | ILIS Link: [21-0081563] | Final | 1405068 | Planned | Transformer only | Sust | RED BLUFF | RED BLUFF-1101 | TX | 119174031877 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 29 | 29 | 29 | 07/14/2021 11:03:00 AM | N |  |  | N | N | N | N | 1610 | N | Distribution | N | N |  |  | 40.20809 | -122.29685 | All Outage Events (with no exclusions) | 21-0081563
Northern | North Valley | Chico | 07/14/2021 10:04:00 AM | ILIS Link: [21-0082115] | Final | 1404258 | Planned | Distribution Circuit | Sust | ANITA | ANITA-1102 | FUS | 55569 | Company Initiated | Planned, maintenance | 8 | N | 2096 | 262 | 262 | 07/14/2021 02:26:00 PM | N |  |  | N | N | N | N | 215 | N | Distribution | N | N |  |  | 39.83313 | -122.04212 | All Outage Events (with no exclusions) | 21-0082115
Northern | North Valley | Red Bluff | 07/14/2021 09:36:00 AM | ILIS Link: [21-0082511] | Final | 1409542 | Planned | Transformer only | Sust | COTTONWOOD | COTTONWOOD-1103 | TX | 118843236050 | Company Initiated | Planned, maintenance | 1 | N | 159 | 159 | 159 | 07/14/2021 12:15:00 PM | N |  |  | N | N | N | N | 2821 | N | Distribution | N | N |  |  | 40.32215 | -122.41596 | All Outage Events (with no exclusions) | 21-0082511
Northern | North Valley | Red Bluff | 07/14/2021 09:13:00 AM | ILIS Link: [21-0076137] | Final | 1404066 | Planned | Distribution Circuit | Sust | VOLTA | VOLTA-1101 | SW | 6471 | Company Initiated | Planned, capital | 552 | N | 12144 | 22 | 22 | 07/14/2021 09:35:00 AM | N |  |  | N | N | N | N | 1350 | N | Distribution | N | N |  |  | 40.34481 | -121.70966 | All Outage Events (with no exclusions) | 21-0076137
Northern | North Valley | Shasta | 07/14/2021 09:08:00 AM | ILIS Link: [21-0083978] | Final | 1403876 | Planned | Distribution Circuit | Sust | WHITMORE | WHITMORE-1101 | JU | OPEN FB S/O SAP 101480548 | Company Initiated | Planned, maintenance | 33 | N | 12276 | 372 | 372 | 07/14/2021 03:20:00 PM | N |  |  | N | N | N | N | 545 | N | Distribution | N | N |  |  | 40.598437 | -121.954069 | All Outage Events (with no exclusions) | 21-0083978
Northern | North Valley | Red Bluff | 07/14/2021 09:00:00 AM | ILIS Link: [21-0068210] | Final | 1404142 | Planned | Transformer only | Sust | CORNING | CORNING-1103 | TX | 119488821366 | Company Initiated | Planned, maintenance | 6 | N | 912 | 152 | 152 | 07/14/2021 11:32:00 AM | N |  |  | N | N | N | N | 1827 | N | Distribution | N | N |  |  | 39.91952 | -122.1834 | All Outage Events (with no exclusions) | 21-0068210
Northern | North Valley | Red Bluff | 07/14/2021 08:39:00 AM | ILIS Link: [21-0081562] | Final | 1404118 | Planned | Transformer only | Sust | RED BLUFF | RED BLUFF-1103 | TX | 119325130574 | Wildfire Mitigation | Planned - WSIP/System Hardening | 9 | N | 378 | 42 | 42 | 07/14/2021 09:21:00 AM | N |  |  | N | N | N | N | 2722 | N | Distribution | N | N |  |  | 40.17223 | -122.24262 | All Outage Events (with no exclusions) | 21-0081562
Northern | North Valley | Oroville | 07/14/2021 08:17:00 AM | ILIS Link: [21-0081592] | Final | 1404063 | Planned | Transformer only | Sust | CHALLENGE-BK1 | CHALLENGE-1102 | TX | 222122565270 | Wildfire Mitigation | Planned - WSIP/System Hardening | 2 | N | 74 | 37 | 37 | 07/14/2021 08:54:00 AM | N |  |  | N | N | N | N | 900 | N | Distribution | N | N |  |  | 39.45646 | -121.2498 | All Outage Events (with no exclusions) | 21-0081592
Northern | North Valley | Oroville | 07/14/2021 08:11:00 AM | ILIS Link: [21-0083035] | Final | 1403953 | Planned | Distribution Circuit | Sust | CHALLENGE-BK1 | CHALLENGE-1102 | JU | 8817 DOUBLE A RANCH RD | Company Initiated | Planned, maintenance | 2 | N | 262 | 131 | 131 | 07/14/2021 10:22:00 AM | N |  |  | N | N | N | N | 900 | N | Distribution | N | N |  |  | 39.445778 | -121.284871 | All Outage Events (with no exclusions) | 21-0083035
Northern | North Valley | Willows/Orland | 07/14/2021 08:08:00 AM | ILIS Link: [21-0089292] | Final | 1404127 | Planned | Distribution Circuit | Sust | CAPAY | CAPAY-1101 | JU | OJ 2 W/OF 14821 | Company Initiated | Planned, capital | 2 | N | 360 | 180 | 180 | 07/14/2021 11:08:00 AM | N |  |  | N | N | N | N | 625 | N | Distribution | N | N |  |  | 39.796915 | -122.085081 | All Outage Events (with no exclusions) | 21-0089292
Northern | North Valley | Willows/Orland | 07/14/2021 08:04:00 AM | ILIS Link: [21-0077554] | Final | 1407753 | Planned | Transformer only | Sust | CAPAY | CAPAY-1101 | TX | 219764277629 | Company Initiated | Planned, maintenance | 1 | N | 186 | 186 | 186 | 07/14/2021 11:10:00 AM | N |  |  | N | N | N | N | 625 | N | Distribution | N | N |  |  | 39.79799 | -122.08513 | All Outage Events (with no exclusions) | 21-0077554
Northern | North Valley | Oroville | 07/14/2021 08:04:00 AM | ILIS Link: [21-0076999] | Final | 1404079 | Planned | Distribution Circuit | Sust | PEACHTON | PEACHTON-1101 | SW | 408251 | Company Initiated | Planned, capital | 38 | N | 4258 | 112.0526 | 257 | 07/14/2021 12:21:00 PM | N |  |  | N | N | N | N | 865 | N | Distribution | N | N |  |  | 39.35789 | -121.83586 | All Outage Events (with no exclusions) | 21-0076999
Northern | North Valley | Shasta | 07/14/2021 08:01:00 AM | ILIS Link: [21-0074633] | Final | 1403958 | Planned | Distribution Circuit | Sust | DESCHUTES | DESCHUTES-1104 | FUS | 3697 | Wildfire Mitigation | Planned - WSIP/System Hardening | 29 | N | 2871 | 99 | 99 | 07/14/2021 09:40:00 AM | N |  |  | N | N | N | N | 2452 | N | Distribution | N | N |  |  | 40.54937 | -122.23855 | All Outage Events (with no exclusions) | 21-0074633
Northern | North Valley | Red Bluff | 07/14/2021 08:00:00 AM | ILIS Link: [21-0082497] | Final | 1409550 | Planned | Transformer only | Sust | COTTONWOOD | COTTONWOOD-1103 | TX | 118904236003 | Company Initiated | Planned, maintenance | 1 | N | 95 | 95 | 95 | 07/14/2021 09:35:00 AM | N |  |  | N | N | N | N | 2821 | N | Distribution | N | N |  |  | 40.32079 | -122.39404 | All Outage Events (with no exclusions) | 21-0082497
Northern | North Valley | Shasta | 07/14/2021 07:55:00 AM | ILIS Link: [21-0082344] | Final | 1404293 | Planned | Transformer only | Sust | DESCHUTES | DESCHUTES-1104 | TX | 119319546057 | Company Initiated | Planned, maintenance | 4 | N | 296 | 74 | 74 | 07/14/2021 09:09:00 AM | N |  |  | N | N | N | N | 2452 | N | Distribution | N | N |  |  | 40.59719 | -122.24608 | All Outage Events (with no exclusions) | 21-0082344
Northern | North Valley | Red Bluff | 07/14/2021 07:27:00 AM | ILIS Link: [21-0081555] | Final | 1403902 | Planned | Transformer only | Sust | RED BLUFF | RED BLUFF-1105 | TX | 119342531616 | Wildfire Mitigation | Planned - WSIP/System Hardening | 3 | N | 81 | 27 | 27 | 07/14/2021 07:54:00 AM | N |  |  | N | N | N | N | 1917 | N | Distribution | N | N |  |  | 40.20087 | -122.23669 | All Outage Events (with no exclusions) | 21-0081555
Northern | North Valley | Shasta | 07/14/2021 05:28:00 AM | ILIS Link: [21-0074869] | Final | 1403856 | Unplanned | Distribution Circuit | Mom | BURNEY | BURNEY-1102 | SW | 38052 | Company Initiated | Return Circuit Normal | 15 | N | 0 | 0 | 0 | 07/14/2021 05:29:00 AM | N | Conductor, Underground | Normal | N | N | N | N | 552 | N | Distribution | N | N |  |  | 40.88781 | -121.65268 | All Outage Events (with no exclusions) | 21-0074869
Northern | North Valley | Shasta | 07/14/2021 04:01:00 AM | ILIS Link: [21-0074869] | Final | 1403850 | Planned | Distribution Circuit | Sust | BURNEY | BURNEY-1102 | SW | 38052 | Company Initiated | Planned, capital | 15 | N | 1020 | 68 | 68 | 07/14/2021 05:09:00 AM | N |  |  | N | N | N | N | 552 | N | Distribution | N | N |  |  | 40.88781 | -121.65268 | All Outage Events (with no exclusions) | 21-0074869
Northern | North Valley | Chico | 07/13/2021 09:44:00 PM | ILIS Link: [21-0089212] | Final | 1403773 | Unplanned | Distribution Circuit | Mom | NORD | NORD-1103 | LR | 2478 | Unknown Cause | Patrol - not conducted | 526 | N | 0 | 0 | 0 | 07/13/2021 09:44:00 PM | N |  |  | N | N | N | N | 3133 | N | Distribution | N | N |  |  | 39.75085 | -121.90336 | All Outage Events (with no exclusions) | 21-0089212
Northern | North Valley | Chico | 07/13/2021 09:42:00 PM | ILIS Link: [21-0067000] | Final | 1403776 | Planned | Distribution Circuit | Sust | CHICO B | CHICO B-1101 | SW | 916 | Company Initiated | Planned, capital | 80 | N | 31360 | 392 | 392 | 07/14/2021 04:14:00 AM | N |  |  | N | N | N | N | 3253 | N | Distribution | N | N |  |  | 39.73074 | -121.85836 | All Outage Events (with no exclusions) | 21-0067000
Northern | North Valley | Shasta | 07/13/2021 09:20:00 PM | ILIS Link: [21-0089232] | Final | 1403766 | Unplanned | Transformer only | Sust | WHITMORE | WHITMORE-1101 | TX | 120347748121 | 3rd Party | Customer Equipment | 1 | N | 240 | 240 | 240 | 07/14/2021 01:20:00 AM | N | Transformer | Failed/Faulted | N | N | N | N | 545 | N | Distribution | N | N |  |  | 40.65409 | -121.87626 | All Outage Events (with no exclusions) | 21-0089232
Northern | North Valley | Paradise | 07/13/2021 04:40:00 PM | ILIS Link: [21-0089207] | Final | 1403761 | Unplanned | Distribution Circuit | Sust | BUCKS CREEK-BK4 | BUCKS CREEK-1101 | FUS | 17733 | Vegetation | Tree - fell into line | 5 | Y | 173868 | 34773.6 | 35476 | 08/07/2021 07:56:00 AM | N | Conductor, Overhead | Normal | N | N | N | N | 17 | N | Distribution | N | N |  |  | 39.87452 | -121.37926 | All Outage Events (with no exclusions) | 21-0089207
Northern | North Valley | Shasta | 07/13/2021 04:25:00 PM | ILIS Link: [21-0089211] | Final | 1403623 | Unplanned | Distribution Circuit | Sust | ANTLER | ANTLER-1101 | FUS | 3847 | Unknown Cause | Patrol - found nothing | 17 | Y | 20400 | 1200 | 1200 | 07/14/2021 12:25:00 PM | N |  |  | N | N | N | N | 955 | N | Distribution | N | N |  |  | 40.88055 | -122.28902 | All Outage Events (with no exclusions) | 21-0089211
Northern | North Valley | Shasta | 07/13/2021 04:25:00 PM | ILIS Link: [21-0089211] | Final | 1403623-2 | Unplanned | Distribution Circuit | Sust | ANTLER | ANTLER-1101 | FUS | 3847 | Unknown Cause | Patrol - found nothing | 17 | Y | 22389 | 1317 | 1317 | 07/14/2021 02:22:00 PM | N |  |  | N | N | N | N | 955 | N | Distribution | N | N |  |  | 40.88055 | -122.28902 | All Outage Events (with no exclusions) | 21-0089211
Northern | North Valley | Chico | 07/13/2021 03:44:00 PM | ILIS Link: [21-0089116] | Final | 1403592 | Unplanned | Distribution Circuit | Sust | BUTTE-BK3 | BUTTE-1107 | FUS | 2475 | Equipment Failure/Involved | Electrical Overload | 11 | N | 1001 | 91 | 91 | 07/13/2021 05:15:00 PM | N | Crossarm, Wood | Broken | N | N | N | N | 1413 | N | Distribution | N | N |  |  | 39.66275 | -121.82398 | All Outage Events (with no exclusions) | 21-0089116
Northern | North Valley | Oroville | 07/13/2021 01:47:00 PM | ILIS Link: [21-0082075] | Final | 1403488 | Planned | Transformer only | Sust | CHALLENGE | CHALLENGE-1101 | TX | 222327567918 | Wildfire Mitigation | Planned - WSIP/System Hardening | 8 | N | 280 | 35 | 35 | 07/13/2021 02:22:00 PM | N |  |  | N | N | N | N | 703 | N | Distribution | N | N |  |  | 39.52886 | -121.17558 | All Outage Events (with no exclusions) | 21-0082075
Northern | North Valley | Oroville | 07/13/2021 01:17:00 PM | ILIS Link: [21-0080953] | Final | 1403461 | Planned | Distribution Circuit | Sust | WYANDOTTE-BK3 | WYANDOTTE-1110 | FUS | 13363 | Company Initiated | Planned, maintenance | 4 | N | 604 | 151 | 151 | 07/13/2021 03:48:00 PM | N |  |  | N | N | N | N | 2733 | N | Distribution | N | N |  |  | 39.5157 | -121.50014 | All Outage Events (with no exclusions) | 21-0080953
Northern | North Valley | Oroville | 07/13/2021 01:02:00 PM | ILIS Link: [21-0081443] | Final | 1403862 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221599962081 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 18 | 18 | 18 | 07/13/2021 01:20:00 PM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.37007 | -121.43468 | All Outage Events (with no exclusions) | 21-0081443
Northern | North Valley | Oroville | 07/13/2021 12:05:00 PM | ILIS Link: [21-0081440] | Final | 1403400 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221623862145 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 23 | 23 | 23 | 07/13/2021 12:28:00 PM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.37173 | -121.42666 | All Outage Events (with no exclusions) | 21-0081440
Northern | North Valley | Red Bluff | 07/13/2021 12:05:00 PM | ILIS Link: [21-0079994] | Final | 1407724 | Planned | Transformer only | Sust | CORNING | CORNING-1102 | TX | 118410319548 | Company Initiated | Planned, maintenance | 1 | N | 54 | 54 | 54 | 07/13/2021 12:59:00 PM | N |  |  | N | N | N | N | 1830 | N | Distribution | N | N |  |  | 39.86839 | -122.567 | All Outage Events (with no exclusions) | 21-0079994
Northern | North Valley | Red Bluff | 07/13/2021 11:59:00 AM | ILIS Link: [21-0077128] | Final | 1403393 | Planned | Transformer only | Sust | VINA | VINA-1101 | TX | 119851021907 | Company Initiated | Planned, maintenance | 7 | N | 294 | 42 | 42 | 07/13/2021 12:41:00 PM | N |  |  | N | N | N | N | 128 | N | Distribution | N | N |  |  | 39.93446 | -122.05441 | All Outage Events (with no exclusions) | 21-0077128
Northern | North Valley | Oroville | 07/13/2021 11:04:00 AM | ILIS Link: [21-0083444] | Final | 1403328 | Planned | Distribution Circuit | Sust | WYANDOTTE | WYANDOTTE-1107 | JU | 1SP NORTH AND 1 SPN W/O SB-13987 | Company Initiated | Planned, maintenance | 3 | N | 309 | 103 | 103 | 07/13/2021 12:47:00 PM | N |  |  | N | N | N | N | 2850 | N | Distribution | N | N |  |  | 39.493232 | -121.512015 | All Outage Events (with no exclusions) | 21-0083444
Northern | North Valley | Oroville | 07/13/2021 11:00:00 AM | ILIS Link: [21-0081437] | Final | 1403331 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221658062282 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 23 | 23 | 23 | 07/13/2021 11:23:00 AM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.37552 | -121.41426 | All Outage Events (with no exclusions) | 21-0081437
Northern | North Valley | Red Bluff | 07/13/2021 10:45:00 AM | ILIS Link: [21-0079991] | Final | 1403318 | Planned | Distribution Circuit | Sust | CORNING | CORNING-1102 | JU | 1SP S/O CGC 118411819576 | Company Initiated | Planned, maintenance | 2 | N | 90 | 45 | 45 | 07/13/2021 11:30:00 AM | N |  |  | N | N | N | N | 1830 | N | Distribution | N | N |  |  | 39.868656 | -122.56631 | All Outage Events (with no exclusions) | 21-0079991
Northern | North Valley | Shasta | 07/13/2021 10:29:00 AM | ILIS Link: [21-0080112] | Final | 1403301 | Planned | Transformer only | Sust | VOLTA | VOLTA-1102 | TX | 120168742841 | Wildfire Mitigation | Planned - WSIP/System Hardening | 2 | N | 380 | 190 | 190 | 07/13/2021 01:39:00 PM | N |  |  | N | N | N | N | 2643 | N | Distribution | N | N |  |  | 40.50924 | -121.94042 | All Outage Events (with no exclusions) | 21-0080112
Northern | North Valley | Oroville | 07/13/2021 10:26:00 AM | ILIS Link: [21-0091125] | Final | M1649014 | Unplanned | Distribution Circuit | Mom | BANGOR | BANGOR-1101 | LR | 1806 | Unknown Cause | Patrol - not conducted | 3 | N | 0 | 0 | 0 | 07/13/2021 10:26:00 AM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.364 | -121.35982 | All Outage Events (with no exclusions) | 21-0091125
Northern | North Valley | Oroville | 07/13/2021 09:58:00 AM | ILIS Link: [21-0088871] | Final | 1403320 | Unplanned | Distribution Circuit | Sust | WYANDOTTE | WYANDOTTE-1107 | FUS | 5543 | Unknown Cause | Patrol - found nothing | 23 | N | 2507 | 109 | 109 | 07/13/2021 11:47:00 AM | N |  |  | N | N | N | N | 2850 | N | Distribution | N | N |  |  | 39.46991 | -121.45896 | All Outage Events (with no exclusions) | 21-0088871
Northern | North Valley | Oroville | 07/13/2021 09:18:00 AM | ILIS Link: [21-0081433] | Final | 1403148 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221704262705 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 35 | 35 | 35 | 07/13/2021 09:53:00 AM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.38711 | -121.39906 | All Outage Events (with no exclusions) | 21-0081433
Northern | North Valley | Red Bluff | 07/13/2021 09:00:00 AM | ILIS Link: [21-0068205] | Final | 1403081 | Planned | Transformer only | Sust | CORNING | CORNING-1103 | TX | 119488821380 | Company Initiated | Planned, maintenance | 6 | N | 906 | 151 | 151 | 07/13/2021 11:31:00 AM | N |  |  | N | N | N | N | 1827 | N | Distribution | N | N |  |  | 39.91985 | -122.1834 | All Outage Events (with no exclusions) | 21-0068205
Northern | North Valley | Shasta | 07/13/2021 08:49:00 AM | ILIS Link: [21-0081365] | Final | 1403000 | Planned | Distribution Circuit | Sust | WHITMORE | WHITMORE-1101 | FUS | 2129 | Wildfire Mitigation | Planned - WSIP/System Hardening | 3 | N | 918 | 306 | 306 | 07/13/2021 01:55:00 PM | N |  |  | N | N | N | N | 545 | N | Distribution | N | N |  |  | 40.70691 | -121.91664 | All Outage Events (with no exclusions) | 21-0081365
Northern | North Valley | Oroville | 07/13/2021 08:48:00 AM | ILIS Link: [21-0088717] | Final | 1403026 | Unplanned | Distribution Circuit | Mom | WYANDOTTE | WYANDOTTE-1106 | CB | 1106/2 | Unknown Cause | Patrol - not conducted | 1710 | N | 0 | 0 | 0 | 07/13/2021 08:48:00 AM | N |  |  | N | N | N | N | 1710 | N | Distribution | N | N |  |  | 39.49193 | -121.54058 | All Outage Events (with no exclusions) | 21-0088717
Northern | North Valley | Shasta | 07/13/2021 08:38:00 AM | ILIS Link: [21-0074070] | Final | 1402984 | Planned | Distribution Circuit | Sust | DESCHUTES | DESCHUTES-1104 | FUS | 1423 | Wildfire Mitigation | Planned - WSIP/System Hardening | 54 | N | 23004 | 426 | 426 | 07/13/2021 03:44:00 PM | N |  |  | N | N | N | N | 2452 | N | Distribution | N | N |  |  | 40.54673 | -122.23841 | All Outage Events (with no exclusions) | 21-0074070
Northern | North Valley | Oroville | 07/13/2021 08:37:00 AM | ILIS Link: [21-0082116] | Final | 1402537 | Planned | Distribution Circuit | Sust | CHALLENGE | CHALLENGE-1101 | JU | 11360 SIESTA CIR. | Company Initiated | Planned, maintenance | 25 | N | 5675 | 227 | 227 | 07/13/2021 12:24:00 PM | N |  |  | N | N | N | N | 703 | N | Distribution | N | N |  |  | 39.535114 | -121.161417 | All Outage Events (with no exclusions) | 21-0082116
Northern | North Valley | Oroville | 07/13/2021 08:30:00 AM | ILIS Link: [21-0080945] | Final | 1402961 | Planned | Distribution Circuit | Sust | WYANDOTTE-BK1 | WYANDOTTE-1102 | FUS | 13059 | Company Initiated | Planned, maintenance | 11 | N | 836 | 76 | 76 | 07/13/2021 09:46:00 AM | N |  |  | N | N | N | N | 2667 | N | Distribution | N | N |  |  | 39.53689 | -121.54865 | All Outage Events (with no exclusions) | 21-0080945
Northern | North Valley | Chico | 07/13/2021 08:24:00 AM | ILIS Link: [21-0077766] | Final | 1403573 | Planned | Transformer only | Sust | BUTTE | BUTTE-1105 | TX | 220773274584 | Company Initiated | Planned, maintenance | 4 | N | 1420 | 355 | 355 | 07/13/2021 02:19:00 PM | N |  |  | N | N | N | N | 1116 | N | Distribution | N | N |  |  | 39.71455 | -121.72554 | All Outage Events (with no exclusions) | 21-0077766
Northern | North Valley | Shasta | 07/13/2021 08:23:00 AM | ILIS Link: [21-0080215] | Final | 1402947 | Planned | Transformer only | Sust | DESCHUTES | DESCHUTES-1104 | TX | 119400342910 | Company Initiated | Planned, maintenance | 2 | N | 508 | 254 | 254 | 07/13/2021 12:37:00 PM | N |  |  | N | N | N | N | 2452 | N | Distribution | N | N |  |  | 40.51094 | -122.21678 | All Outage Events (with no exclusions) | 21-0080215
Northern | North Valley | Oroville | 07/13/2021 08:22:00 AM | ILIS Link: [21-0078764] | Final | 1402941 | Planned | Distribution Circuit | Sust | KANAKA | KANAKA-1101 | JU | OJ 1 SPAN S.S. OF CGC# 222028167890 | Company Initiated | Planned, maintenance | 1 | N | 368 | 368 | 368 | 07/13/2021 02:30:00 PM | N |  |  | N | N | N | N | 579 | N | Distribution | N | N |  |  | 39.528209 | -121.281555 | All Outage Events (with no exclusions) | 21-0078764
Northern | North Valley | Red Bluff | 07/13/2021 08:18:00 AM | ILIS Link: [21-0077120] | Final | 1402978 | Planned | Distribution Circuit | Sust | CORNING | CORNING-1103 | JU | 1SP W/O CGC 119474820556 | Company Initiated | Planned, maintenance | 2 | N | 266 | 133 | 133 | 07/13/2021 10:31:00 AM | N |  |  | N | N | N | N | 1827 | N | Distribution | N | N |  |  | 39.897257 | -122.188182 | All Outage Events (with no exclusions) | 21-0077120
Northern | North Valley | Oroville | 07/13/2021 08:17:00 AM | ILIS Link: [21-0081419] | Final | 1402916 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221722562280 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 27 | 27 | 27 | 07/13/2021 08:44:00 AM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.37594 | -121.39256 | All Outage Events (with no exclusions) | 21-0081419
Northern | North Valley | Oroville | 07/13/2021 08:00:00 AM | ILIS Link: [21-0082781] | Final | 1402881 | Planned | Transformer only | Sust | BANGOR | BANGOR-1101 | TX | 221687662971 | Company Initiated | Planned, maintenance | 1 | N | 122 | 122 | 122 | 07/13/2021 10:02:00 AM | N |  |  | N | N | N | N | 2444 | N | Distribution | N | N |  |  | 39.39441 | -121.40389 | All Outage Events (with no exclusions) | 21-0082781
Northern | North Valley | Paradise | 07/13/2021 08:00:00 AM | ILIS Link: [21-0067525] | Final | 1402901 | Planned | Distribution Circuit | Sust | PARADISE-BK2 | PARADISE-1104 | FUS | 1369 | Company Initiated | Planned, capital | 10 | N | 3450 | 345 | 345 | 07/13/2021 01:45:00 PM | N |  |  | N | N | N | N | 1790 | N | Distribution | N | N |  |  | 39.76245 | -121.58898 | All Outage Events (with no exclusions) | 21-0067525
Northern | North Valley | Shasta | 07/13/2021 07:51:00 AM | ILIS Link: [21-0082165] | Final | 1402842 | Planned | Distribution Circuit | Sust | VOLTA | VOLTA-1102 | FUS | 7545 | Wildfire Mitigation | Planned - WSIP/System Hardening | 40 | N | 18560 | 464 | 464 | 07/13/2021 03:35:00 PM | N |  |  | N | N | N | N | 2643 | N | Distribution | N | N |  |  | 40.49103 | -121.89894 | All Outage Events (with no exclusions) | 21-0082165
Northern | North Valley | Willows/Orland | 07/13/2021 07:50:00 AM | ILIS Link: [21-0080955] | Final | 1403398 | Planned | Distribution Circuit | Sust | ELK CREEK-BK1 | ELK CREEK-1101 | FUS | 4065 | Company Initiated | Planned, maintenance | 3 | N | 354 | 118 | 118 | 07/13/2021 09:48:00 AM | N |  |  | N | N | N | N | 914 | N | Distribution | N | N |  |  | 39.36575 | -122.62065 | All Outage Events (with no exclusions) | 21-0080955
Northern | North Valley | Shasta | 07/13/2021 07:40:00 AM | ILIS Link: [21-0081361] | Final | 1402828 | Planned | Transformer only | Sust | DESCHUTES | DESCHUTES-1101 | TX | 119971049535 | Wildfire Mitigation | Planned - WSIP/System Hardening | 1 | N | 36 | 36 | 36 | 07/13/2021 08:16:00 AM | N |  |  | N | N | N | N | 1215 | N | Distribution | N | N |  |  | 40.69352 | -122.0103 | All Outage Events (with no exclusions) | 21-0081361