## CIF
Environmental Distribution & Shared Services
[5 empty] | CLIENT INPUT FORM |  |  |  | Revised 08/07/2018
Please fill out the below form and submit with a map, drawing, and or/kmz. The hyperlink will open an email with the receipent filled in (DistandSharedService@pge.com)
Dist and Shared Services Environmental Review Request
Note - The format of the subject line of the email submittal shall be in the following: PM Order, Project Name, County
*Indicates Required Field
* PM Order (typically 7 digits) |  | *Project Name |  | *Facility Name |  |  |  | *Project Manager/Point of Contact (include email/phone no.)
35217268 |  | CWSP - BUCKS CREEK 1101 CB PH 1 |  | BUCKS CREEK 1101
*Project Overview and Description of Work
Include any equipment, access, staging areas, and any work outside an existing fenceline (even if in PG&E property).
Project CWSP - BUCKS CREEK 1101 CB PH 1 scope is to rebuild 461 feet of Overhead conductor, install 739 feet below ground within Hwy 70 with Level 2 system hardening construction on the BUCKS CREEK 1101 circuit as part of the Wildfire System Hardening Program. Project involves a total of 3 work locations, 2 pole replacements, 1 intercept pole which include primary distribution. Anticipated equipment to be utilized during construction includes: Line trucks, bucket trucks, pick-up truck, materials truck, crew truck and backyard machine Excavator or Backhoe. Access to pole locations will utilize existing established paved, gravel, dirt roads or overland travel. Staging area location will be determined at a later date by GC construction.
*Location: | (Location information is not required if you have attached a KMZ file.)
Address:
County:
Latitude:
Longitude:
*Attach a map, drawing and/or Google Earth KMZ
Other Attachments (Provide if Available)
Anticipated Construction Start/End Date (see note)
| Start: | 2021-06-01 |  | End Date: | 2021-12-31
*Note -Environmental reviews cannot begin until a completed CIF and proper construction drawing (a Plat Map for gas work can be used, see sheet 2 for details) has been submitted to Environmental. Environmental review timeframes for issuance of an ERTC is typically a baseline of 2.5 months once the submittal has been deemed complete.
* Scope of Work Questions
Please place "X" under appropriate yes/no response and provide commments as needed.
|  |  |  | Yes | No | Unsure | Comments | (If Unsure, Provide detail or estimated date)
Will this project require overland travel? If yes, the route must be identified on drawings or kmz. |  |  |  | X
Is this project a WRO? If so, attach applicants environmental documents. (CEQA, NEPA, etc.) |  |  |  |  | X
Will this project involve demolition of load bearing structures (buildings, equipment pads, or towers)? |  |  |  |  | X
Will NEW above ground gas related facilites be installed? (Fencing, Reg stations, SCADA) |  |  |  | X |  |  | New pole locations
Will oil-filled electric equipment be replaced?
Will underground electric cable be replaced?
Will this project involve ground disturbing activities? If yes, fill out the appropriate table below |  |  |  | X
Will hazardous materials be stored onsite or at a laydown yard?
Will there be impacts to waterways or work taking place within 100 feet of a waterway? If yes, provide detailed scope of work |  |  |  | X
Will there be vegetation/tree removal or trimming? If so, please identify on drawings or kmz |  |  |  | X
Will construction install stormwater BMP's? | [5 empty] | X | If required.
Will hydrostatic testing occur? |  |  |  |  | X
**Will this project require helicopter landing zones? If yes, please go to Helicopter Landing Zone tab |  |  |  |  | X
Gas Distribution Projects | [5 empty] | Electrical Overhead Projects
Linear Feet of Trenched Gas Main | [5 empty] | Tubular Steel Poles
Linear Feet of Bored Gas Main | [5 empty] | Wood Poles |  |  |  |  | 3
Number of Services to install by trenching | [5 empty] | Pull Sites for Reconductoring |  |  |  |  | TBD
Number of Services to install by boring
Number of Services transfer/deactivated/inserted | [5 empty] | Electrical Underground Projects
Number of Distribution Main Tie-Ins | [5 empty] | Linear feet of trenched conduit
Number of Jack & Bore pits | [5 empty] | Linear feet of bored conduit
Number of #1 size boxes
Laydown Yard | [5 empty] | Number of #2 size boxes
Address or GPS Coordinates |  |  | Length | Width |  | Number of #4 size boxes
Number of #5 size boxes
Laydown yard on Paved Surface? | [5 empty] | Number of #6 size boxes
Number of #7 size boxes
Number of cable boxes
Number of pad-mounted Transformers
Number of pad-mounted Capacitors
Number of pad-mounted Interrupters
Laydown Yard
[6 empty] | Address or GPS Coordinates |  |  |  | Length | Width
Laydown yard on Paved Surface?
Yes
No
Yes
No
Map Attached
Drawing Attached
Google Earth KMZ
Other
Photos From Site Walk
Other

## Plat Map Requirements
The environmental team can accept Plat maps, instead of construction drawings to begin environmental review, if the plat maps include the following information:
-Clearly marked area of the project location and all areas to be excavated (maximum depth of excavation is required)
-Markings including all services that are impacted as part of the project (if applicable)
-Lay down areas (or proposed locations if not yet identified)
-The ground disturbance calculator is properly completed and includes all necessary dimensions and data needed for soil management purposes
-Any changes in scope are submitted to Environmental in a timely manner
Please keep in mind that there will still be a subset of jobs with land use restrictions, especially in urban environments, that will require more than a plat map due to agency interactions. In those cases the review will be completed only upon receiving the estimator drawings. The EFS team will be in contact with the PMs in these cases.
Also: in order to issue the ERTC it would be preferable to receive the final construction drawings to ensure the ERTC actually reflects the correct scope of work.

## Helicopter Landing Zone
Helicopter Landing Zones
If the project requires helicopter landing zone(s) the following information is required:
- Location of the landing zone, KMZ or lat/long
Latitude | Longitude
- Is the LZ being used to stage materials, equipment and/or vehicles? If yes, identify type and quantity
- Flight path is required for work on agency land
▪If LZ and flight path information are unavailable and not submitted for agency review, it can take an additional 9-12 months from when the information is received to obtain agency approval of the LZ. ▪The ERTC can be issued without LZ identification, but there is a risk to project schedule that is not controllable by Environmental.
Yes
No
KMZ Attached
KMZ Attached