## Sheet1
Date | Initials | Reader Issue
2014-01-26 | AS | Reader 312 (Vit D) experienced an error in protocol execution for WAG patient sample
2014-01-30 | AS | Reader 233 (FT4) network dropped during daily QC
2014-02-19 | EMC | Reader 328 (TSH) nozzle 1 won't eject tips
2014-02-19 | AS | Reader 154 (fT4 CAPSYS) Error: Sheel program quit durng protocol
2014-02-19 | ARS | Reader 053 (FT4 CAPSYS) Blank white screen, no data transfer
2014-02-19 | ARS | Reader 154 (FT4 CAPSYS) Network dropped
2014-02-20 | ADS | Reader 154 (FT4 CAPSYS) Theranos software shutdown; restarted before run
2014-02-21 | EMC | Reader 068 and 059 white screen, no data transfer
2014-02-21 | EMC | Reader 0181 (TPSA CAPSYS) white screen, no data transfer
2014-02-22 | TC | Reader 0281 (HCV CAPSYS) blue screened
2014-02-26 | TC | Reader 1012 scanner out of position (have to tilt catridge to scan)
2014-02-28 | RR | All readers off the network
2014-02-28 | ADS | Reader 1013 (TST 6-tip) Tray no longer moves
2014-03-01 | TC | Reader 1012 second nozzle does not pick up tips
2014-03-02 | ARS | Reader 1001 (TT3 6-tip) Shell program stopped, no data transfer
2014-03-02 | ARS | Reader 1004 (TT3 6-tip) Shell program stopped
2014-03-03 | RR | Reader 196- Happened twice--eroor message mid-run, no data, won't open/close (restarted)
2015-03-03 | RR | Reader 196 "Critical Problem with Device: Unknown error--please call support"
2014-02-04 | EMC | Reader E000233 White screen (no button), no data transfer
2014-03-05 | TC | All normandy reader offline 11:40am
2014-03-05 | JC | Reader 250 shut down in the middl e of patient sample (power outage)
2014-03-06 | ARS | ARS 068, 181, 059 (TT4 6-tip) Shell Program stopped working; network dropped before data transfer
2014-03-07 | EMC | All machines @ 6:55pm "There is no test associated with this barcode"
2014-03-10 | EMC | Reader 98: "Error running test: Protocol execution failed running….w/ message 1301)" no data transfer